FMS.1.d — Potable water and electricity are available round the clock.

FMS.1 Record 4 — Potable water and electricity round-the-clock availability and quality-test record

What is this record, in plain terms? A record showing potable water and electricity were actually available at every point of use, including at night, plus the periodic water-quality test results against the hospital's own defined parameters.

A real example of when you'd use this A night-round check at 2am confirms the OT scrub sink and the ICU emergency circuit are both live; a quarterly water sample from the dialysis unit comes back within the hospital's defined limits.

Why does NABH ask for this? NABH requires potable water and electricity to be available round the clock -- a Core requirement checked against actual availability, not a morning-only inspection.

How to fill this in — column by column

Date/Time of Check: Including at least one night or holiday check per cycle.

Point of Use/Circuit: Drinking, clinical wash, CSSD, dialysis, OT, ICU, emergency, etc.

Available? (Y/N): Whether water/electricity was live at that point.

Water Quality Result (if tested): Parameter(s) tested and result against hospital's defined limits, using WHO GDWQ as framework.

Interruption/Failure Recorded: Any interruption found, and restoration time.

Confirmed By: Named engineering lead.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

Where this requirement comes from (verified, clickable sources)

• World Health Organization. (2011). Guidelines for Drinking-water Quality (4th ed.).

• Coulliette, A. D., & Arduino, M. J. (2013). Hemodialysis and water quality. Seminars in Dialysis, 26(4), 427-438.

| Date/Time of Check | Point of Use/Circuit | Available? (Y/N) | Water Quality Result (if tested) | Interruption/Failure Recorded | Confirmed By |
| --- | --- | --- | --- | --- | --- |
| 10/04/2026 02:15 | OT scrub sink + ICU emergency circuit | Y | N/A (not a test cycle date) | None | Engineering Lead «Name» |