FMS.2.a — Patient-safety devices and infrastructure are installed across the organisation and inspected periodically.

FMS.2 Record 1 — Patient-safety device inspection record

What is this record, in plain terms? A log proving patient-safety devices (grab rails, anti-skid flooring, window restrictors, bumper guards, call-bell hardware) were actually inspected and found working, not read off a purchase invoice.

A real example of when you'd use this A ground-floor toilet grab rail is found loose during inspection; this record shows it was found, logged and refixed, not left until the next round.

Why does NABH ask for this? NABH requires patient-safety devices and infrastructure to be installed and inspected periodically -- a Core requirement checked against actual device function, not a purchase record.

How to fill this in — column by column

Date of Inspection: Date the device was inspected.

Device/Area: Grab rail, anti-skid flooring, window restrictor, bumper guard, call bell, etc., and location.

Working? (Y/N): Whether the device actually functions as inspected.

Defect Found: What was found wrong, if anything.

Action Taken: What was done to fix a defect, and by when.

Confirmed By: Named facilities lead who inspected.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

Where this requirement comes from (verified, clickable sources)

• National Accreditation Board for Hospitals and Healthcare Providers. (2022). Standards for Small Healthcare Organisations (3rd ed.). NABH SHCO Accreditation Programme page. Facility Management and Safety chapter, standard FMS.2.

| Date of Inspection | Device/Area | Working? (Y/N) | Defect Found | Action Taken | Confirmed By |
| --- | --- | --- | --- | --- | --- |
| 03/04/2026 | Grab rail, ground-floor patient toilet | N | Rail loose at wet-wall fixing | Refixed same day, re-tested | Facilities Lead «Name» |