FMS.5.b — The organisation has a documented and displayed exit plan in case of fire and non-fire emergencies.

FMS.5 Record 2 — Exit plan display inspection record

What is this record, in plain terms? A record confirming the exit plan is actually displayed, legible, and matches the current FMS.1.b drawings -- not framed in the board room or pointing at a locked window.

A real example of when you'd use this A routine inspection finds the exit plan display on the second floor is still showing the layout before a corridor was partitioned; this record shows it was found and corrected.

Why does NABH ask for this? NABH requires a documented and displayed exit plan -- a Commitment requirement checked against whether the display actually matches the building as it is now.

How to fill this in — column by column

Date of Inspection: Date the display was inspected.

Location: Where the exit plan is displayed.

Matches Current FMS.1.b Drawings? (Y/N): Whether the display reflects the current as-built layout.

Legible/Accessible? (Y/N): Whether it can actually be seen and read.

Action Taken: What was done to correct a defect.

Confirmed By: Named fire/facilities lead.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

Where this requirement comes from (verified, clickable sources)

• National Accreditation Board for Hospitals and Healthcare Providers. (2022). Standards for Small Healthcare Organisations (3rd ed.). NABH SHCO Accreditation Programme page. Facility Management and Safety chapter, standard FMS.5.

| Date of Inspection | Location | Matches Current FMS.1.b Drawings? (Y/N) | Legible/Accessible? (Y/N) | Action Taken | Confirmed By |
| --- | --- | --- | --- | --- | --- |
| 10/03/2026 | Second floor, corridor junction | N (pre-partition layout) | Y | Display updated to match current drawings | Fire Lead «Name» |