FMS.5.e — The organisation has a service continuity plan in case of fire and non-fire emergencies.

FMS.5 Record 5 — Service continuity plan activation record

What is this record, in plain terms? A record of how each essential AAC.1 service would continue, pause or divert if lost to fire or a named non-fire event, and any actual activation of that plan -- naming the receiving arrangement, not a vague reference to 'a nearby hospital'.

A real example of when you'd use this A planned fire-door maintenance outage requires the OT list to pause for two hours; the continuity plan's named decision-maker authorises the pause and the resumption is logged.

Why does NABH ask for this? NABH requires a service continuity plan for fire and non-fire emergencies -- an Achievement requirement checked against a plan that names who decides, what continues, and where patients go if diversion is needed.

How to fill this in — column by column

Service (per AAC.1): Named essential service covered by this continuity entry.

Continue/Pause/Divert Plan: How the service continues, pauses, or diverts (naming the receiving arrangement if diversion).

Backup Dependency: Which FMS.4.c/FMS.1.e backup this plan depends on, if any.

Decision-Maker: Who declares continuity versus full evacuation.

Activated? (Y/N) and Date: Whether this plan was actually activated, and when.

Confirmed By: Named clinical head or fire/facilities lead.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

Where this requirement comes from (verified, clickable sources)

• National Disaster Management Authority. (2016). National Disaster Management Guidelines: Hospital Safety.

| Service (per AAC.1) | Continue/Pause/Divert Plan | Backup Dependency | Decision-Maker | Activated? (Y/N) and Date | Confirmed By |
| --- | --- | --- | --- | --- | --- |
| General Surgery (OT list) | Pause for planned fire-door maintenance outage | None (planned, non-emergency pause) | OT In-Charge «Name» | Y, 20/03/2026, resumed same day | OT In-Charge «Name» |