HIC.3.a — The organisation has appropriate engineering controls to prevent infections.

HIC.3 Record 01 — Engineering-control joint verification round

What is this record, in plain terms? This record is the proof ventilation, water quality and effluent controls were actually checked together by infection control and maintenance every month -- not assumed to be working because nobody complained.

A real example of when you'd use this The February joint round confirms air-change rates in the OT meet the 12-per-hour target and flags a water-tank cleaning that is two weeks overdue, closed out by the first week of March.

Why does NABH ask for this? Air that does not change often enough in an operating theatre, or water that is never tested, can carry infection to a patient with nobody in the room doing anything wrong at all -- the building itself has to be part of infection control.

How to fill this in — column by column

Round Date: When held.

Area / Control Checked: Ventilation, water quality, effluent, etc.

Finding: Within spec or deficient.

Closure Date / Action: If deficient, what was done and when.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

Where this requirement comes from (verified, clickable sources)

• National Accreditation Board for Hospitals and Healthcare Providers. (2022). Standards for Small Healthcare Organisations (3rd ed.). NABH SHCO Accreditation Programme page. Hospital Infection Control chapter, standard HIC.3.

| Round Date | Area / Control Checked | Finding | Closure Date / Action |
| --- | --- | --- | --- |
| WORKED EXAMPLE — 10-Feb-2026 | OT air changes / water tank cleaning | Air changes within spec; tank cleaning overdue | Tank cleaned 05-Mar-2026 |