HIC.3.b — The organisation designs and implements a plan to reduce the risk of infection during construction and renovation.

HIC.3 Record 02 — Infection-control risk assessment (ICRA) for construction/renovation

What is this record, in plain terms? This record is the proof an ICRA was actually completed and approved before a construction project began, and that compliance was actually monitored during the work -- not a project that started on the contractor's schedule alone.

A real example of when you'd use this The ICRA for a ward bathroom renovation classifies it as medium risk, requires dust barriers and a dedicated debris route, approved by the Medical Superintendent before demolition starts.

Why does NABH ask for this? Dust and vibration from a renovation can carry fungal spores straight into a ward's air supply -- the risk has to be assessed and controlled before the first wall comes down, not noticed afterward.

How to fill this in — column by column

Project / Area: What is being built or renovated.

Risk Classification: Low/medium/high per the ICRA.

Precautions Required: Dust barriers, traffic route, air monitoring, etc.

MS Approval Date: Before work begins.

Terminal Cleaning Confirmed (Y/N): Before return to clinical use.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

Where this requirement comes from (verified, clickable sources)

• National Accreditation Board for Hospitals and Healthcare Providers. (2022). Standards for Small Healthcare Organisations (3rd ed.). NABH SHCO Accreditation Programme page. Hospital Infection Control chapter, standard HIC.3.

| Project / Area | Risk Classification | Precautions Required | MS Approval Date | Terminal Cleaning Confirmed (Y/N) |
| --- | --- | --- | --- | --- |
| WORKED EXAMPLE — Ward bathroom renovation | Medium | Dust barrier, dedicated debris route | 02-Feb-2026 | Y — 20-Feb-2026 |