HIC.6.d — Regular validation tests for sterilisation are carried out and documented.

HIC.6 Record 04 — Biological-indicator and Bowie-Dick validation log

What is this record, in plain terms? This record is the proof the steriliser itself was actually validated with a biological indicator and a Bowie-Dick test on schedule -- the test that confirms the autoclave is genuinely achieving sterilisation, not just running.

A real example of when you'd use this The weekly biological-indicator test for the autoclave reads negative (pass) on 10-March, and the daily Bowie-Dick test passes on every working day that week.

Why does NABH ask for this? A steriliser that looks like it is running normally can still be failing to actually sterilise -- physical, chemical and biological indicators each catch a different kind of failure the others would miss.

How to fill this in — column by column

Test Date / Type (BI/Bowie-Dick): Which test, when.

Steriliser ID: Which machine.

Result (Pass/Fail): Outcome.

Action If Failed: Recall triggered or not applicable.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

Where this requirement comes from (verified, clickable sources)

• Centers for Disease Control and Prevention. (2008, updated 2019). Guideline for disinfection and sterilization in healthcare facilities. Atlanta, GA: CDC/HICPAC -- the source of the validation-testing regimen (biological indicators, Bowie-Dick test) this hospital's sterilisation-verification steps are built on.

• National Accreditation Board for Hospitals and Healthcare Providers. (2022). Standards for Small Healthcare Organisations (3rd ed.). NABH SHCO Accreditation Programme page. Hospital Infection Control chapter, standard HIC.6.

| Test Date / Type (BI/Bowie-Dick) | Steriliser ID | Result (Pass/Fail) | Action If Failed |
| --- | --- | --- | --- |
| WORKED EXAMPLE — 10-Mar-2026 / BI (weekly) | Autoclave 1 | Pass | N/A |