Preview Hospital

Planned Facilities and Environment-Friendly Measures

HCO Full Accreditation, 6th Edition — FMS.2.

# Document control

« » marks an editable default a small hospital can adopt. «________» is a true blank and must be completed before issue.

| Document No. | «HCO/FMS/POL/02» | Version | 2.0 |
| --- | --- | --- | --- |
| Issue No. | «01» | Review due | «one year from implementation» |
| Date created | «________» | Date of implementation | «________» |
| Prepared by | «Engineering In-Charge» Name «________» | Signature | «________» |
| Reviewed by | «Quality Coordinator» Name «________» | Signature | «________» |
| Approved by | «Medical Superintendent» Name «________» | Signature | «________» |

# Statement of intent

The organisation’s environment and facilities operate in a planned manner and promotes environment-friendly measures.

# 1. Purpose

This policy says how Preview Hospital meets NABH Hospitals 6th Edition standard FMS.2: The organisation’s environment and facilities operate in a planned manner and promotes environment-friendly measures.

It covers objective elements FMS.2.a–f (6 elements).

Chapter intent (official Standards PDF): The standards guide the provision of a safe and secure environment for patients, their families, staff and visitors. The organisation attends to the facility, equipment, and internal physical environment for improving patient safety and quality of services by consistently addressing issues that may arise out of the same. The organisation does this through proactive risk analysis, safety rounds, training of staff on the enhancement of safety and management of disasters. To ensure this, the organisation conducts regular facility inspection rounds and takes the appropriate action to ensure safety. The organisation provides for safe water, electricity, medical gases and vacuum systems. The organisation has a programme for medical and utility equipment management. The organisation plans for fire and non-fire emergencies within the facilities. The organisation is a no-smoking area. The organisation safely manages hazardous materials. The organisation works towards measures on being energy efficient.

This policy owns FMS.2. Related AAC, COP, MOM, PRE, IPC, PSQ and ROM duties stay with those policies — cross-reference only. Other FMS standards stay with their own policies.

Words marked «like this» are defaults. A blank marked «________» must be filled before issue.

# 2. Scope

This policy applies to engineering, biomedical, nursing and departmental leaders, and staff who run facilities, utilities, medical gases, fire and non-fire emergencies at Preview Hospital, including the «Engineering In-Charge», the «Medical Superintendent», departmental leaders and the Quality Coordinator.

It covers 6 objective elements (FMS.2.a, FMS.2.b, FMS.2.c, FMS.2.d, FMS.2.e, FMS.2.f).

Boundaries: do not copy SHCO equivalent-chapter wording. Do not overwrite HCO AAC, COP, MOM, PRE, IPC, PSQ or ROM policies. Spell out abbreviations on first use in training materials. OE counts/levels/asterisks stay with the official portal Standards PDF. Method notes come from the Guidebook Interpretation paragraphs (scanned PDF md5 2c4489ee98de4ae9b49cba168ea9f42a).

# 3. Policy standards

Preview Hospital implements FMS.2 so that the organisation’s environment and facilities operate in a planned manner and promotes environment-friendly measures.

Staff follow written guidance, keep the records listed in the OE table, and escalate when stop-work conditions are met (if this policy includes a stop-work section).

# 4. Non-negotiable rules

1. Do not skip: Facilities and space provisions are appropriate to the scope of services.

2. Do not skip: As built and updated drawings are maintained as per statutory requirements.

3. Do not skip: There are internal and external sign postings in the organisation in a manner understood by the patient, fa...

4. Do not skip: Potable water and electricity are available round the clock.

5. Do not skip: Alternate sources for electricity and water are provided as a backup for any failure / shortage.

6. Do not skip: The organisation tests the functioning of these alternate sources at a predefined frequency.

7. Do not bypass the stop-work authority in section 6 when the trigger conditions are met.

8. Staff who see a FMS.2 rule broken report it the same shift to the «Engineering In-Charge» or the «Medical Superintendent».

# 5. What we do

## 5.1 Facilities and space provisions are appropriate to the scope of services

Facilities and space provisions match the scope of services this hospital actually offers, using national or international guidance (including Atomic Energy Regulatory Board guidance where radiation services are in scope).

The «Engineering In-Charge» and «Medical Superintendent» keep the current space-vs-services map. A service listed without a matching space is escalated.

Method note (from guidebook interpretation): The basis of the appropriateness of facilities and space provisions will be as per the national/international guidelines. For example, regulatory requirements, the directive of Government agencies like AERB guidelines. The organisation endeavours to upgrade its physical infrastructure to meet national and international guidelines. The infrastructure and equipment shall be upgraded, commensurate with the scope and complexities of functioning.

## 5.2 As built and updated drawings are maintained as per statutory require...

As-built and updated drawings are maintained as required by the applicable registering authority for this site: site layout, floor plans, floor-wise fire-evacuation plans, and separate civil, electrical, extra-low-voltage, plumbing, heating-ventilation-air-conditioning, piped medical-gas and information-technology drawings.

A named person under the «Engineering In-Charge» holds the current set. This element does not import a named Act as a checklist for the whole standard.

Method note (from guidebook interpretation): A designated person maintains as built and updated site layout, floor drawings, floor wise fire evacuation plans, separate civil, electrical, extra low voltage (ELV), plumbing, HVAC piped medical gas drawings and IT network.

## 5.3 There are internal and external sign postings in the organisation in ...

Internal and external sign posting is in a manner patients, families and the community understand (language and/or pictorial; bilingual where this hospital defines). Signs meet applicable statutory posting rules for this site.

The «Engineering In-Charge» walks the signs «quarterly». This is a CORE element.

Method note (from guidebook interpretation): Manner implies language and/or pictorial signs. Signage could be bilingual and shall meet statutory requirements.

This is a CORE objective element — non-compliance is not acceptable for accreditation.

## 5.4 Potable water and electricity are available round the clock

Potable water and electricity are available round the clock. Potable-water quality is tested at the tap: biochemical at least once in three months and microbiological at least once a month, against the current IS 10500. Dialysis reverse-osmosis inlet water is tested for endotoxin «monthly» where dialysis is in scope.

A care area without water or power is a stop-work trigger (section 6). This is a CORE element.

Method note (from guidebook interpretation): The organisation shall make arrangements for the supply of adequate potable water and electricity. Potable water quality is monitored and documented. Water testing includes biochemical (once in three months) and microbiological analysis (once in a month). Water shall be collected at the user end (tap). For water quality, refer to the current version IS 10500. In case of an RO plant of the dialysis unit, the water from the inlet port of dialysis machine shall be tested for endotoxin levels every month to ensure that levels shall conform to national and/or international guidelines.

This is a CORE objective element — non-compliance is not acceptable for accreditation.

## 5.5 Alternate sources for electricity and water are provided as a backup ...

Alternate sources for electricity and water are provided as backup for any failure or shortage (diesel generator, solar, uninterruptible power supply; bore or tanker or extra tanks as this hospital names). Electric load matches demand. National Building Code is a reference for water quantity, not a paste of every clause.

The «Engineering In-Charge» owns the backup list. Critical areas have a named continuity action when supply fails.

Method note (from guidebook interpretation): The organisation shall ensure that there is sufficient water supply to meet the requirements. The electric load shall be appropriate to the requirements of the organisation and adhere to the regulatory requirements. Alternate sources for water and electricity shall be made available all the times. A good reference for estimating the water requirement is the National Building Code. Alternate electric supply could be from DG sets, solar energy, UPS and any other suitable source. The organisation identifies and mitigates the risk of critical areas/services during electrical supply failure, or when water is contaminated or interrupted. In case of electrical supply through alternate sources (Diesel generator or uninterrupted power supply), the capacity and longevity of power availability based on usage are considered. Alternate source of water can be bore/open well, supply through water tanker or extra storage tanks.

## 5.6 The organisation tests the functioning of these alternate sources at ...

The organisation tests these alternate sources at a predefined frequency (default «monthly» for the diesel generator and a documented water-acceptance test when an emergency source is used). Results are recorded. Refer to FMS.2.d for water quality.

A backup that is never tested is not this element.

Method note (from guidebook interpretation): The results of these tests shall be documented. In case of water, if the organisation uses alternate sources for making up the shortfall, water testing shall be done on acceptance and at a pre-defined frequency. If the organisation uses alternate sources only as an emergency measure, water testing shall be done on acceptance. Water shall be collected for testing at the point where it is received from the source. Refer to FMS.2.d.

# 6. Stop-work authority

Do not start or continue clinical care in an area that has no potable water or no electricity, unless the organisation has declared a FMS.7 emergency and the written service-continuity plan for that failure is running.

Stop-work applies to starting or continuing routine care in that area. Immediate life-saving care continues while water or power is restored or the patient is moved.

The person who stops tells the «Engineering In-Charge» and the «Medical Superintendent» the same shift. Refusing to run care without water or power is not a disciplinary matter.

# 7. Governance and responsibility

- Medical Superintendent

- Accountable that FMS.2 is resourced and followed.

- Engineering In-Charge

- Owns day-to-day implementation and records for this standard.

- Quality Coordinator

- Audits this policy «quarterly»; holds training acknowledgements.

- departmental leaders

- Run the department-level duties this standard names.

# 8. Quality monitoring (RCA → CAPA)

The Quality Coordinator audits this policy «quarterly».

What is monitored each quarter:

- Sample of records for each OE FMS.2.a–f.

- Asterisked elements (none) have document evidence as required.

- CORE elements (cd) show no critical gaps in the sample.

- Stop-work events (if any) are logged with outcome.

This policy is reviewed «annually», and sooner after a related facility change, utility failure, equipment recall or fire-plan change.

# 9. Training and staff acknowledgement

Staff covered by this policy are trained at induction and «once a year» after that. Training covers the What-we-do steps, non-negotiables and stop-work (if present).

Staff acknowledgement

I have read this Planned Facilities and Environment-Friendly Measures policy of Preview Hospital. I will follow the processes described.

Name: ___________________________    Designation: ___________________________

Department / floor: ____________________    Date: ____________

Signature: ___________________________

(One row per staff member. The Quality Coordinator holds signed acknowledgements with the induction record.)

| Name | Designation | Department / floor | Date | Signature |
| --- | --- | --- | --- | --- |

The Quality Coordinator holds signed acknowledgements with the induction record.

# 10. References

- National Accreditation Board for Hospitals and Healthcare Providers (NABH), Accreditation Standards for Hospitals, 6th Edition (January 2025) — Facility Management and Safety, standard FMS.2. Official portal PDF (OE text, counts, levels, asterisks).

- NABH Guidebook to Accreditation Standards for Hospitals, 6th Edition — FMS.2 interpretations (source PDF md5 2c4489ee98de4ae9b49cba168ea9f42a; OCR policies/source/hco6_fms_guidebook_ocr.txt).

- Internal documents of Preview Hospital: facility-inspection records, as-built drawings, utility and medical-equipment logs, medical-gas records, fire and non-fire plans named for FMS.2.

# 11. Distribution

Medical Superintendent; Engineering In-Charge; Quality Coordinator; departmental leaders; staff covered by FMS.2

# 12. Abbreviations

AHU — Air Handling Unit
CAPA — Corrective and Preventive Action
CORE — Core objective element (NABH)
DG — Diesel Generator
ELV — Extra Low Voltage
FMS — Facility Management and Safety (NABH Hospitals 6th Edition chapter)
HCO — Hospital (Full Accreditation programme under NABH Hospitals 6th Edition)
HVAC — Heating, Ventilation and Air Conditioning
MSDS — Material Safety Data Sheet
NABH — National Accreditation Board for Hospitals and Healthcare Providers
OE — Objective Element
PPE — Personal Protective Equipment
RO — Reverse Osmosis
STP — Sewage Treatment Plant

# 13. Traceability to NABH HCO Full Accreditation 6th Edition FMS.2

This table is an index. It is not how the policy is organised.

| OE | Requirement | Where this policy addresses it | Responsible |
| --- | --- | --- | --- |
| FMS.2.a | Facilities and space provisions are appropriate to the scope of services. | Section 3; 5.1; Section 6 Stop-work | Engineering In-Charge |
| FMS.2.b | As built and updated drawings are maintained as per statutory requirements. | Section 3; 5.2; Section 6 Stop-work | Engineering In-Charge |
| FMS.2.c | There are internal and external sign postings in the organisation in a manner understood by the patient, families and community. | Section 3; 5.3; Section 6 Stop-work | Engineering In-Charge |
| FMS.2.d | Potable water and electricity are available round the clock. | Section 3; 5.4; Section 6 Stop-work | Engineering In-Charge |
| FMS.2.e | Alternate sources for electricity and water are provided as a backup for any failure / shortage. | Section 3; 5.5; Section 6 Stop-work | Engineering In-Charge |
| FMS.2.f | The organisation tests the functioning of these alternate sources at a predefined frequency. | Section 3; 5.6; Section 6 Stop-work | Engineering In-Charge |

# 14. Required Records / Evidence Checklist

Records the hospital holds under this policy, listed by objective element.

## FMS.2.a — Facilities and space provisions are appropriate to the scope of services.

- Records showing FMS.2.a was followed for sampled cases.

- Written guidance / protocol referenced for this element (where required).

- Audit sample notes for FMS.2.a reviewed «quarterly».

## FMS.2.b — As built and updated drawings are maintained as per statutory requirements.

- Records showing FMS.2.b was followed for sampled cases.

- Written guidance / protocol referenced for this element (where required).

- Audit sample notes for FMS.2.b reviewed «quarterly».

## FMS.2.c — There are internal and external sign postings in the organisation in a manner understood by the patient, families and community.

- Records showing FMS.2.c was followed for sampled cases.

- Written guidance / protocol referenced for this element (where required).

- Audit sample notes for FMS.2.c reviewed «quarterly».

- CORE-element sample with no critical gaps in the quarter under review.

## FMS.2.d — Potable water and electricity are available round the clock.

- Records showing FMS.2.d was followed for sampled cases.

- Written guidance / protocol referenced for this element (where required).

- Audit sample notes for FMS.2.d reviewed «quarterly».

- CORE-element sample with no critical gaps in the quarter under review.

## FMS.2.e — Alternate sources for electricity and water are provided as a backup for any failure / shortage.

- Records showing FMS.2.e was followed for sampled cases.

- Written guidance / protocol referenced for this element (where required).

- Audit sample notes for FMS.2.e reviewed «quarterly».

## FMS.2.f — The organisation tests the functioning of these alternate sources at a predefined frequency.

- Records showing FMS.2.f was followed for sampled cases.

- Written guidance / protocol referenced for this element (where required).

- Audit sample notes for FMS.2.f reviewed «quarterly».

# Disclaimer

This document is a template prepared for the guidance of Preview Hospital and must be reviewed, adapted and formally approved by Preview Hospital before use. Every entry marked [Hospital to define] must be replaced with the hospital's own decision; a document issued with those markers left in place is not an approved policy.

The requirements in this document are accreditation requirements of the NABH Full Accreditation Standards for Hospitals, 6th Edition, not duties under a named Act of Parliament. This policy does not import the Consumer Protection Act, 2019, the Clinical Establishments Act, 2010, or the Mental Healthcare Act, 2017 as a checklist. Statutory duties that arise under other documents of Preview Hospital remain those documents. Preview Hospital is responsible for verifying any statutory duty that applies to it; this document does not constitute legal advice.

The clinical and technical content reflects recognised national and international guidance current at the date of preparation. Preview Hospital remains responsible for verifying that it is current and consistent with the edition of the accreditation standard against which it is being assessed.

This document is not issued by, endorsed by, or affiliated with NABH, the World Health Organization, the National Centre for Disease Control, the Food Safety and Standards Authority of India, any Pollution Control Board, or any other body named in it. Wording is original; no text has been reproduced from the standards, rules or guidelines referenced.