«Hospital Name»

Infection Prevention and Control in Support Services

HCO Full Accreditation, 6th Edition — IPC.4.

# Document control

« » marks an editable default a small hospital can adopt. «________» is a true blank and must be completed before issue.

| Document No. | «HCO/IPC/POL/04» | Version | 2.0 |
| --- | --- | --- | --- |
| Issue No. | «01» | Review due | «one year from implementation» |
| Date created | «________» | Date of implementation | «________» |
| Prepared by | «Infection Prevention and Control Officer» Name «________» | Signature | «________» |
| Reviewed by | «Quality Coordinator» Name «________» | Signature | «________» |
| Approved by | «Medical Superintendent» Name «________» | Signature | «________» |

# Statement of intent

The organisation implements the infection prevention and control processes in support services.

# 1. Purpose

This policy says how «Hospital Name» meets NABH Hospitals 6th Edition standard IPC.4: The organisation implements the infection prevention and control processes in support services.

It covers objective elements IPC.4.a–f (6 elements).

Chapter intent (official Standards PDF): The organisation implements an effective healthcare associated infection prevention and control programme. The programme is documented and aims at reducing / eliminating infection risks to patients, visitors and providers of care. The programme is implemented across the organisation, including clinical areas and support services. The organisation provides proper facilities and adequate resources to support the infection prevention and control programme. The organisation measures and acts to prevent or reduce the risk of healthcare associated infection in patients and staff. The organisation has an effective antimicrobial management programme through regularly updated antimicrobial policy based on local data and monitors its implementation. Programme also includes monitoring of antimicrobials usage in the organisation. Surveillance activities are incorporated in the infection prevention and control programme. The programme includes disinfection / sterilisation activities and biomedical waste (BMW) management.

This policy owns IPC.4. Related AAC, COP, MOM and PRE duties stay with those policies — cross-reference only. Other IPC standards stay with their own policies.

Words marked «like this» are defaults. A blank marked «________» must be filled before issue.

# 2. Scope

This policy applies to staff who deliver clinical care, run support services (housekeeping, laundry, kitchen, CSSD, engineering), handle biomedical waste, or hold occupational-health duties at «Hospital Name», including the «Infection Prevention and Control Officer», the Infection Prevention and Control Officer and Nurse, treating doctors, nursing, CSSD, Occupational Health and the Quality Coordinator.

It covers 6 objective elements (IPC.4.a, IPC.4.b, IPC.4.c, IPC.4.d, IPC.4.e, IPC.4.f).

Boundaries: do not overwrite HCO AAC, COP, MOM or PRE policies. Spell out abbreviations on first use in training materials. OE counts/levels/asterisks stay with the official portal Standards PDF. Method notes come from the Guidebook Interpretation paragraphs (scanned PDF md5 2c4489ee98de4ae9b49cba168ea9f42a).

# 3. Policy standards

«Hospital Name» implements IPC.4 so that the organisation implements the infection prevention and control processes in support services.

Staff follow written guidance, keep the records listed in the OE table, and escalate when stop-work triggers fire (if this policy includes a stop-work section).

# 4. Non-negotiable rules

1. Do not skip: The organisation has appropriate engineering controls to prevent infections.

2. Do not skip: The organisation designs and implements a plan to reduce the risk of infection during construction and...

3. Do not skip: The organisation adheres to housekeeping procedures.

4. Do not skip: Biomedical waste (BMW) is handled appropriately and safely.

5. Do not skip: The organisation adheres to laundry and linen management processes.

6. Do not skip: The organisation adheres to kitchen sanitation and food-handling issues.

7. Do not bypass the stop-work authority in section 6 when the trigger conditions are met.

8. Staff who see an IPC.4 rule broken report it the same shift to the «department in-charge» or the «Infection Prevention and Control Officer».

# 5. What we do

## 5.1 The organisation has appropriate engineering controls to prevent...

Engineering controls to prevent infection include layout of patient-care areas (including spacing between beds as the organisation defines, default one–two metres where the building allows), OT air-handling as designed, and water/plumbing that does not create infection risk.

The «Engineering In-Charge» and the «Infection Prevention and Control Officer» review these controls «annually» and after renovation.

Method note (from guidebook interpretation): This shall include the design of patient care areas (optimum spacing between beds is one-two metres), operating rooms including zoning of OT, air quality and water supply. Refer to NABH guidelines on OT air-conditioning. Issues such as air-conditioning plant and equipment maintenance, cleaning of air-conditioning ducts/filters, air handling units, cleaning of cooling towers, cleaning/replacement of filters, prevention of fungal colonisation shall be included. Water-supply sources and system of supply, testing for water quality must be included. Refer to FMS.2.f., FMS.3.c. and COP. 14.g. _b. (.

This objective element is asterisked in the official Standards PDF — documentation of the process is required.

## 5.2 The organisation designs and implements a plan to reduce the risk of...

Before construction or renovation in or next to a patient-care area, an infection-control risk assessment (ICRA or equivalent validated tool) is completed and a written plan of barriers, traffic, dust and water controls is implemented.

Starting works without that plan is a stop-work trigger (section 6). The «Infection Prevention and Control Officer» signs the plan; engineering keeps the file.

Method note (from guidebook interpretation): A validated tool (for example infection prevention and control risk assessment tool)(ICRA) shall be used to identify the risk of infection during construction and renovation. Facility construction/renovation could ensure that when new facilities are built, infection prevention and control is considered from the design stage onwards. Any renovation work in the hospital shall be planned with the infection prevention and control team concerning architectural segregation, traffic flow, use of materials, etc. Refer to FMS.1.e. i}.

This objective element is asterisked in the official Standards PDF — documentation of the process is required.

## 5.3 The organisation adheres to housekeeping procedures

Housekeeping procedures are written and followed at every level: wards, OT, public areas including toilets, and support areas. Cleaning frequency, product, method and terminal clean after isolation are defined.

The «Housekeeping In-Charge» trains staff. Effectiveness is monitored under IPC.6.f. This is a CORE asterisked element.

Method note (from guidebook interpretation): Housekeeping shall be addressed at all levels of the organisation, for example ward, OT, public areas including toilets, corridors. Regular cleaning to remove visible dirt and dust is mandatory. This includes the environment, fixtures, fomites, furniture, furnishings, equipment, etc., as applicable. A risk stratification matrix may be used to determine the frequency of cleaning. The physical environment may be divided into several areas depending on the risk of transmitting microorganisms. The criteria used to identify these areas can include the number of footfalls, the type of activity performed (for example, clinical versus non-clinical) and the probability of being exposed to body fluid (for example, in an operation theatre or laboratory). It is preferable that the organisation follows a uniform policy across different departments within the organisation. The common disinfectants used are identified as per national / international guidelines, dilution protocols are established, and its usage in the appropriate situation is complied with. It shall also include procedures for terminal cleaning, blood and body fluid cleanup and isolation rooms. A dusting of any sort inside the clinical areas shall be avoided. A good reference is “CDC Guideline for Disinfection and Sterilization in Healthcare Facilities, 2008” and “Swachhta Guidelines for Public Health Facilities”. HE cone.

This objective element is asterisked in the official Standards PDF — documentation of the process is required.

This is a CORE objective element — non-compliance is not acceptable for accreditation.

## 5.4 Biomedical waste (BMW) is handled appropriately and safely

Biomedical waste is segregated at source into the statutory colour-coded bags/containers, handled with PPE, stored as required, and handed to the authorised vendor. The «Infection Prevention and Control Committee»/team monitors the programme as statute requires.

BMW without segregation or PPE is a stop-work trigger (section 6). This CORE element follows statutory provisions named in the Guidebook interpretation.

Method note (from guidebook interpretation): Proper segregation and collection of biomedical waste from patient-care areas of the hospital are implemented. Wastes to be segregated and collected in different colour-coded bags and containers as per statutory provisions. Monitoring shall be done by members of the infection prevention and control committee/team. Biomedical waste shall be handled in the proper manner using appropriate personal protective equipment. The organisation ensures that biomedical waste is stored in accordance with statutory provisions. Biomedical waste is handed over to the authorised vendor for transport to the site of treatment and disposal. Monitoring of biomedical waste management program shall be done as per statutory requirements.

This is a CORE objective element — non-compliance is not acceptable for accreditation.

## 5.5 The organisation adheres to laundry and linen management processes

Laundry and linen processes — in-house or outsourced — cover collection, transport, wash, and change-of-linen frequency. Used linen from isolation is bagged as the manual states.

The «Laundry In-Charge» (or the outsourced supervisor named in the contract) keeps process records. The «Infection Prevention and Control Nurse» audits «quarterly».

Method note (from guidebook interpretation): The laundry can be in-house or outsourced. The organisation shall implement its documentation regarding the change of linen. The organisation shall implement its defined process of handling linen in patient care =) ie units, during transport to the laundry (either in-house or outsourced) and inside the laundry. Process for storage and distribution of clean linen within the organisation shall be complied. The separation of clean linen from dirty linen shall be maintained at all times. If outsourced, the organisation shall ensure that it establishes adequate controls to ensure infection prevention and control.

This objective element is asterisked in the official Standards PDF — documentation of the process is required.

## 5.6 The organisation adheres to kitchen sanitation and food-handling issues

Kitchen sanitation and food handling follow statutory requirements, including screening of food handlers, even when catering is outsourced: separate prep, off-floor storage, pest control, temperature of service, and no contact between cleaning chemicals and food.

The «Kitchen / Dietary In-Charge» owns daily checks. The «Infection Prevention and Control Officer» includes kitchen in the IPC round.

Method note (from guidebook interpretation): This shall be applicable even if this activity is outsourced. The organisation shall adhere to all statutory requirements, including screening of kitchen workers and food handlers. It is preferable that they also adhere to national and international guidelines while addressing this issue. Kitchen sanitation measures are implemented to prevent the risk of cross-contamination. Food is prepared, handled, stored and distributed safely. The dietary services shall be designed in a manner that there is no criss-cross of traffic. All the activities shall fall in a sequence. The organisation shall ensure that hygienic conditions are followed throughout. Other indicative points are: * dedicated food storage/refrigeration areas exist to ensure food preservation; * food storage areas/refrigerators are maintained appropriately; * all food products are stored off the floor; * cleaning supplies stored in a separate location away from food; * separate dedicated food preparation areas exist; * measures are in place to ensure that flies and insects do not come in contact with prepared/stored food; * food distribution to patients occurs, where possible, in temperature appropriate food service trolleys (hot food kept hot and cold food kept cold).

This objective element is asterisked in the official Standards PDF — documentation of the process is required.

# 6. Stop-work authority

Do not handle biomedical waste without the required colour-coded segregation and PPE.

Do not start construction or renovation in a patient-care area until the infection-risk plan for that work has been completed and the «Infection Prevention and Control Officer» has agreed the controls.

Stop-work applies to the waste-handling act and to the construction/renovation start. Emergency repair that cannot wait follows the documented emergency-works IPC controls and is recorded.

The person who stops tells the «Infection Prevention and Control Officer» and the «Medical Superintendent» the same shift. Refusing unsafe waste handling or unplanned works is not a disciplinary matter.

# 7. Governance and responsibility

Medical Superintendent

- Accountable that IPC.4 is resourced and followed.

- Acts on outbreaks, sterilisation recalls and exposure events that reach top leadership.

Infection Prevention and Control Officer

- Owns day-to-day implementation and records for this standard.

Infection Prevention and Control Officer

- Coordinates the IPC programme across standards; brings surveillance and incidents to the Infection Prevention and Control Committee.

Infection Prevention and Control Nurse

- Runs day-to-day surveillance, hand-hygiene audit and staff education as this standard requires.

Quality Coordinator

- Audits this policy «quarterly»; holds training acknowledgements.

# 8. Quality monitoring (RCA → CAPA)

The Quality Coordinator audits this policy «quarterly». The audit reviews:

- Records for a sample of this standard's objective elements, checked against the What-we-do steps.

- Documentary evidence is on file for each asterisked objective element in the sample.

- CORE objective elements show no critical gaps in the sample.

- Stop-work events (if any) are logged with outcome.

Root-cause analysis is required when a gap found in this audit remains open beyond «90 days».

This policy is reviewed «annually», and sooner after a related outbreak, sterilisation failure or exposure cluster.

# 9. Training and staff acknowledgement

Staff covered by this policy are trained at induction and «once a year» after that. Training covers the What-we-do steps, non-negotiables and stop-work (if present).

Staff acknowledgement

I have read this Infection Prevention and Control in Support Services policy of «Hospital Name». I will follow the processes described.

Name: ___________________________    Designation: ___________________________

Department / floor: ____________________    Date: ____________

Signature: ___________________________

(One row per staff member. The Quality Coordinator holds signed acknowledgements with the induction record.)

| Name | Designation | Department / floor | Date | Signature |
| --- | --- | --- | --- | --- |

The Quality Coordinator holds signed acknowledgements with the induction record.

# 10. References

- National Accreditation Board for Hospitals and Healthcare Providers (NABH), Accreditation Standards for Hospitals, 6th Edition (January 2025) — Infection Prevention and Control, standard IPC.4. Official portal PDF (OE text, counts, levels, asterisks).

- NABH Guidebook to Accreditation Standards for Hospitals, 6th Edition — IPC.4 interpretations (source PDF md5 2c4489ee98de4ae9b49cba168ea9f42a; OCR policies/source/hco6_ipc_guidebook_ocr.txt).

- Internal documents of «Hospital Name»: Infection Prevention and Control Manual, antimicrobial policy, BMW and housekeeping procedures, CSSD sterilisation records, occupational-health and PEP guidance named for IPC.4.

# 11. Distribution

Medical Superintendent; Infection Prevention and Control Officer; Infection Prevention and Control Nurse; Nursing Superintendent; CSSD In-Charge; Occupational Health Physician; Quality Coordinator; department clinical and support staff covered by IPC.4

# 12. Abbreviations

AMS — Antimicrobial Stewardship
BMW — Biomedical Waste
CAPA — Corrective and Preventive Action
CLABSI — Central Line Associated Bloodstream Infection
CORE — Core objective element (NABH)
CSSD — Central Sterile Services Department
CAUTI — Catheter-Associated Urinary Tract Infection
HAI — Healthcare Associated Infection
HCO — Hospital (Full Accreditation programme under NABH Hospitals 6th Edition)
IPC — Infection Prevention and Control (NABH Hospitals 6th Edition chapter)
MDRO — Multi-Drug-Resistant Organism
NABH — National Accreditation Board for Hospitals and Healthcare Providers
OE — Objective Element
PEP — Post-Exposure Prophylaxis
PPE — Personal Protective Equipment
SSI — Surgical Site Infection
VAP — Ventilator-Associated Pneumonia
WHO — World Health Organization

# 13. Traceability to NABH HCO Full Accreditation 6th Edition IPC.4

This table is an index. It is not how the policy is organised.

| OE | Requirement | Where this policy addresses it | Responsible |
| --- | --- | --- | --- |
| IPC.4.a | The organisation has appropriate engineering controls to prevent infections. | Section 3; 5.1; Section 6 Stop-work | Infection Prevention and Control Officer |
| IPC.4.b | The organisation designs and implements a plan to reduce the risk of infection during construction and renovation. | Section 3; 5.2; Section 6 Stop-work | Infection Prevention and Control Officer |
| IPC.4.c | The organisation adheres to housekeeping procedures. | Section 3; 5.3; Section 6 Stop-work | Infection Prevention and Control Officer |
| IPC.4.d | Biomedical waste (BMW) is handled appropriately and safely. | Section 3; 5.4; Section 6 Stop-work | Infection Prevention and Control Officer |
| IPC.4.e | The organisation adheres to laundry and linen management processes. | Section 3; 5.5; Section 6 Stop-work | Infection Prevention and Control Officer |
| IPC.4.f | The organisation adheres to kitchen sanitation and food-handling issues. | Section 3; 5.6; Section 6 Stop-work | Infection Prevention and Control Officer |

# 14. Required Records / Evidence Checklist

Records the hospital holds under this policy, listed by objective element.

## IPC.4.a — The organisation has appropriate engineering controls to prevent infections.

- Engineering-controls record — patient-area layout/spacing, OT air-handling, water/plumbing.

- Annual and post-renovation review record by the Engineering In-Charge and IPC Officer.

- Corrective record for any control found deficient.

## IPC.4.b — The organisation designs and implements a plan to reduce the risk of infection during construction and renovation.

- Completed infection-control risk assessment (ICRA or equivalent) before construction or renovation.

- Written barrier, traffic, dust and water-control plan for the project.

- IPC Officer sign-off record before works started.

## IPC.4.c — The organisation adheres to housekeeping procedures.

- Written housekeeping procedures by area — wards, OT, public areas, support areas — with frequency, product and method.

- Terminal-clean record after isolation use.

- Cross-reference to the IPC.6.f effectiveness-monitoring result.

## IPC.4.d — Biomedical waste (BMW) is handled appropriately and safely.

- Biomedical-waste segregation record at source, colour-coded per statute.

- PPE-use record for BMW handling.

- Authorised-vendor handover record — manifest or log.

## IPC.4.e — The organisation adheres to laundry and linen management processes.

- Written laundry and linen process — collection, transport, wash, change frequency.

- Isolation-linen bagging record.

- Quarterly audit record by the IPC Nurse.

## IPC.4.f — The organisation adheres to kitchen sanitation and food-handling issues.

- Kitchen sanitation and food-handling written procedure, including food-handler screening record.

- Daily check record by the Kitchen/Dietary In-Charge.

- IPC round record that includes the kitchen.

# Disclaimer

This document is a template prepared for the guidance of «Hospital Name» and must be reviewed, adapted and formally approved by «Hospital Name» before use. Every entry marked [Hospital to define] must be replaced with the hospital's own decision; a document issued with those markers left in place is not an approved policy.

Several requirements in this document are statutory rather than advisory — in particular those arising under statutory provisions for biomedical waste handling as named in NABH IPC.4, including colour-coded segregation, storage, authorised vendor and monitoring as required under applicable Biomedical Waste Management Rules. Statutory requirements change, and State authorities impose additional or stricter conditions. «Hospital Name» is responsible for verifying the current text of any rule cited here and the conditions attached to its own authorisations and licences; this document does not constitute legal advice.

The clinical and technical content reflects recognised national and international guidance current at the date of preparation. «Hospital Name» remains responsible for verifying that it is current and consistent with the edition of the accreditation standard against which it is being assessed.

This document is not issued by, endorsed by, or affiliated with NABH, the World Health Organization, the National Centre for Disease Control, the Food Safety and Standards Authority of India, any Pollution Control Board, or any other body named in it. Wording is original; no text has been reproduced from the standards, rules or guidelines referenced.