Preview Hospital

Safe and Secure Environment

HCO Full Accreditation, 6th Edition — FMS.1.

# Document control

« » marks an editable default a small hospital can adopt. «________» is a true blank and must be completed before issue.

| Document No. | «HCO/FMS/POL/01» | Version | 2.0 |
| --- | --- | --- | --- |
| Issue No. | «01» | Review due | «one year from implementation» |
| Date created | «________» | Date of implementation | «________» |
| Prepared by | «Engineering In-Charge» Name «________» | Signature | «________» |
| Reviewed by | «Quality Coordinator» Name «________» | Signature | «________» |
| Approved by | «Medical Superintendent» Name «________» | Signature | «________» |

# Statement of intent

The organisation has a system in place to provide a safe and secure environment.

# 1. Purpose

This policy says how Preview Hospital meets NABH Hospitals 6th Edition standard FMS.1: The organisation has a system in place to provide a safe and secure environment.

It covers objective elements FMS.1.a–e (5 elements).

Chapter intent (official Standards PDF): The standards guide the provision of a safe and secure environment for patients, their families, staff and visitors. The organisation attends to the facility, equipment, and internal physical environment for improving patient safety and quality of services by consistently addressing issues that may arise out of the same. The organisation does this through proactive risk analysis, safety rounds, training of staff on the enhancement of safety and management of disasters. To ensure this, the organisation conducts regular facility inspection rounds and takes the appropriate action to ensure safety. The organisation provides for safe water, electricity, medical gases and vacuum systems. The organisation has a programme for medical and utility equipment management. The organisation plans for fire and non-fire emergencies within the facilities. The organisation is a no-smoking area. The organisation safely manages hazardous materials. The organisation works towards measures on being energy efficient.

This policy owns FMS.1. Related AAC, COP, MOM, PRE, IPC, PSQ and ROM duties stay with those policies — cross-reference only. Other FMS standards stay with their own policies.

Words marked «like this» are defaults. A blank marked «________» must be filled before issue.

# 2. Scope

This policy applies to engineering, biomedical, nursing and departmental leaders, and staff who run facilities, utilities, medical gases, fire and non-fire emergencies at Preview Hospital, including the «Engineering In-Charge», the «Medical Superintendent», departmental leaders and the Quality Coordinator.

It covers 5 objective elements (FMS.1.a, FMS.1.b, FMS.1.c, FMS.1.d, FMS.1.e).

Boundaries: do not overwrite HCO AAC, COP, MOM, PRE, IPC, PSQ or ROM policies. Spell out abbreviations on first use in training materials. OE counts/levels/asterisks stay with the official portal Standards PDF. Method notes come from the Guidebook Interpretation paragraphs (scanned PDF md5 2c4489ee98de4ae9b49cba168ea9f42a).

# 3. Policy standards

Preview Hospital implements FMS.1 so that the organisation has a system in place to provide a safe and secure environment.

Staff follow written guidance, keep the records listed in the OE table, and escalate when stop-work conditions are met (if this policy includes a stop-work section).

# 4. Non-negotiable rules

1. Do not skip: Patient safety devices and infrastructure are installed across the organisation and inspected periodically.

2. Do not skip: The organisation has facilities for the differently-abled.

3. Do not skip: Facility inspection rounds to ensure safety are conducted at least once a month.

4. Do not skip: Inspection reports of facility rounds are documented and corrective and preventive measures are undertaken.

5. Do not skip: Before construction, renovation and expansion of the existing hospital, risk- assessment is carried out.

6. Staff who see a FMS.1 rule broken report it the same shift to the «Engineering In-Charge» or the «Medical Superintendent».

# 5. What we do

## 5.1 Patient safety devices and infrastructure are installed across the...

Patient-safety devices and infrastructure (grab bars, bed rails, stretcher and wheelchair belts, call bells, alarms, radiation or biohazard warning signs, fire-safety devices as listed for each area) are installed across Preview Hospital and inspected at a defined interval (default «monthly»).

The «Engineering In-Charge» holds the current list and last inspection. A missing device in a care area that is in use is escalated the same shift.

Method note (from guidebook interpretation): For example, grab bars, bed rails, sign posting, safety belts on stretchers and wheelchairs, alarms both visual and auditory where applicable, warning signs like radiation or biohazard, call bells, fire-safety devices, etc.

This is a CORE objective element — non-compliance is not acceptable for accreditation.

## 5.2 The organisation has facilities for the differently-abled

Preview Hospital has facilities for the differently-abled (at a minimum a wheelchair-accessible entrance and a toilet, as regulatory requirement and this hospital's building allow).

The «Engineering In-Charge» keeps the current access list. A step-only entrance with no documented alternative is not this element.

Method note (from guidebook interpretation): Provisions are made for differently-abled persons like the physically challenged, the visually impaired and mentally impaired person. At a minimum, this shall be as per regulatory requirement. For example, a special toilet for differently-abled, wheelchair accessible entrance etc.

## 5.3 Facility inspection rounds to ensure safety are conducted at least once...

Facility inspection rounds to ensure safety are conducted at least once a month using a checklist. Potential safety and security-risk / restricted areas are identified and monitored.

The «Engineering In-Charge» owns the round calendar. A month without a completed round is a gap under this CORE element.

Method note (from guidebook interpretation): Potential safety risks are identified during the rounds using a checklist. The potential security risk areas and restricted areas are identified and are monitored. The organisation plans and budgets for upgrading or replacing key systems, buildings, or components based on the facility inspection.

This is a CORE objective element — non-compliance is not acceptable for accreditation.

## 5.4 Inspection reports of facility rounds are documented and corrective and...

Inspection reports of facility rounds are documented. Corrective and preventive measures are undertaken. The safety committee reviews the reports «monthly». Pre- and post-correction evidence is kept for at least one accreditation cycle.

The «Quality Coordinator» files the reviewed reports with the «Engineering In-Charge».

Method note (from guidebook interpretation): The facility inspection reports are reviewed monthly by the safety committee and appropriate action(s) taken. Evidence of pre and post corrective actions are maintained at least for one accreditation cycle.

## 5.5 Before construction, renovation and expansion of the existing hospital...

Before construction, renovation or expansion of the existing hospital, a risk-assessment is carried out covering noise, vibration and infection prevention and control. IPC.4 remains the home of construction-infection controls; this element is that the assessment happens before work starts.

The «Engineering In-Charge» holds the dated assessment. Work started with no assessment is incomplete under this element.

Method note (from guidebook interpretation): The risk assessment shall cover noise, vibration and infection prevention and control. This is carried out before the commencement of renovation and expansion of the facility. Refer to IPC.4.b.

# 6. Governance and responsibility

Medical Superintendent

- Accountable that FMS.1 is resourced and followed.

Engineering In-Charge

- Owns day-to-day implementation and records for this standard.

Quality Coordinator

- Audits this policy «quarterly»; holds training acknowledgements.

departmental leaders

- Run the department-level duties this standard names.

# 7. Quality monitoring (RCA → CAPA)

The Quality Coordinator audits this policy «quarterly». The audit reviews:

- Records for a sample of this standard's objective elements, checked against the What-we-do steps.

- CORE objective elements show no critical gaps in the sample.

- Stop-work events (if any) are logged with outcome.

Root-cause analysis is required when a gap found in this audit remains open beyond «90 days».

This policy is reviewed «annually», and sooner after a related facility change, utility failure, equipment recall or fire-plan change.

# 8. Training and staff acknowledgement

Staff covered by this policy are trained at induction and «once a year» after that. Training covers the What-we-do steps, non-negotiables and stop-work (if present).

Staff acknowledgement

I have read this Safe and Secure Environment policy of Preview Hospital. I will follow the processes described.

Name: ___________________________    Designation: ___________________________

Department / floor: ____________________    Date: ____________

Signature: ___________________________

(One row per staff member. The Quality Coordinator holds signed acknowledgements with the induction record.)

| Name | Designation | Department / floor | Date | Signature |
| --- | --- | --- | --- | --- |

The Quality Coordinator holds signed acknowledgements with the induction record.

# 9. References

- National Accreditation Board for Hospitals and Healthcare Providers (NABH), Accreditation Standards for Hospitals, 6th Edition (January 2025) — Facility Management and Safety, standard FMS.1. Official portal PDF (OE text, counts, levels, asterisks).

- NABH Guidebook to Accreditation Standards for Hospitals, 6th Edition — FMS.1 interpretations (source PDF md5 2c4489ee98de4ae9b49cba168ea9f42a; OCR policies/source/hco6_fms_guidebook_ocr.txt).

- Internal documents of Preview Hospital: facility-inspection records, as-built drawings, utility and medical-equipment logs, medical-gas records, fire and non-fire plans named for FMS.1.

# 10. Distribution

Medical Superintendent; Engineering In-Charge; Quality Coordinator; departmental leaders; staff covered by FMS.1

# 11. Abbreviations

AHU — Air Handling Unit
CAPA — Corrective and Preventive Action
CORE — Core objective element (NABH)
DG — Diesel Generator
ELV — Extra Low Voltage
FMS — Facility Management and Safety (NABH Hospitals 6th Edition chapter)
HCO — Hospital (Full Accreditation programme under NABH Hospitals 6th Edition)
HVAC — Heating, Ventilation and Air Conditioning
MSDS — Material Safety Data Sheet
NABH — National Accreditation Board for Hospitals and Healthcare Providers
OE — Objective Element
PPE — Personal Protective Equipment
RO — Reverse Osmosis
STP — Sewage Treatment Plant

# 12. Traceability to NABH HCO Full Accreditation 6th Edition FMS.1

This table is an index. It is not how the policy is organised.

| OE | Requirement | Where this policy addresses it | Responsible |
| --- | --- | --- | --- |
| FMS.1.a | Patient safety devices and infrastructure are installed across the organisation and inspected periodically. | Section 3; 5.1 | Engineering In-Charge |
| FMS.1.b | The organisation has facilities for the differently-abled. | Section 3; 5.2 | Engineering In-Charge |
| FMS.1.c | Facility inspection rounds to ensure safety are conducted at least once a month. | Section 3; 5.3 | Engineering In-Charge |
| FMS.1.d | Inspection reports of facility rounds are documented and corrective and preventive measures are undertaken. | Section 3; 5.4 | Engineering In-Charge |
| FMS.1.e | Before construction, renovation and expansion of the existing hospital, risk- assessment is carried out. | Section 3; 5.5 | Engineering In-Charge |

# 13. Required Records / Evidence Checklist

Records the hospital holds under this policy, listed by objective element.

## FMS.1.a — Patient safety devices and infrastructure are installed across the organisation and inspected periodically.

- Current inventory of patient-safety devices and infrastructure (grab bars, bed rails, call bells, fire-safety devices) by area.

- Inspection log showing the last-inspection date for each device or area.

- Escalation record for any missing device found in an in-use care area.

## FMS.1.b — The organisation has facilities for the differently-abled.

- Facility list showing the wheelchair-accessible entrance and toilet location(s).

- Regulatory-requirement reference for the accessibility provision made.

- Documented alternative arrangement for any area with step-only access.

## FMS.1.c — Facility inspection rounds to ensure safety are conducted at least once a month.

- Monthly facility-inspection-round checklist, completed and dated.

- Round calendar showing no missed month.

- List of identified safety, security-risk or restricted areas being monitored.

## FMS.1.d — Inspection reports of facility rounds are documented and corrective and preventive measures are undertaken.

- Documented inspection reports of facility rounds.

- Corrective and preventive action record for each finding.

- Safety-committee review record of the reports.

## FMS.1.e — Before construction, renovation and expansion of the existing hospital, risk- assessment is carried out.

- Dated risk-assessment record covering noise, vibration and infection prevention, completed before work started.

- Engineering In-Charge sign-off before construction, renovation or expansion began.

- Cross-reference to the IPC.4 construction-infection-control measures applied alongside.

# Disclaimer

This document is a template prepared for the guidance of Preview Hospital and must be reviewed, adapted and formally approved by Preview Hospital before use. Every entry marked [Hospital to define] must be replaced with the hospital's own decision; a document issued with those markers left in place is not an approved policy.

The requirements in this document are accreditation requirements of the NABH Full Accreditation Standards for Hospitals, 6th Edition, not duties under a named Act of Parliament. This policy does not import the Consumer Protection Act, 2019, the Clinical Establishments Act, 2010, or the Mental Healthcare Act, 2017 as a checklist. Statutory duties that arise under other documents of Preview Hospital remain those documents. Preview Hospital is responsible for verifying any statutory duty that applies to it; this document does not constitute legal advice.

The clinical and technical content reflects recognised national and international guidance current at the date of preparation. Preview Hospital remains responsible for verifying that it is current and consistent with the edition of the accreditation standard against which it is being assessed.

This document is not issued by, endorsed by, or affiliated with NABH, the World Health Organization, the National Centre for Disease Control, the Food Safety and Standards Authority of India, any Pollution Control Board, or any other body named in it. Wording is original; no text has been reproduced from the standards, rules or guidelines referenced.