Preview Hospital

Facility, Engineering Support and Utility Systems

HCO Full Accreditation, 6th Edition — FMS.4.

# Document control

« » marks an editable default a small hospital can adopt. «________» is a true blank and must be completed before issue.

| Document No. | «HCO/FMS/POL/04» | Version | 2.0 |
| --- | --- | --- | --- |
| Issue No. | «01» | Review due | «one year from implementation» |
| Date created | «________» | Date of implementation | «________» |
| Prepared by | «Engineering In-Charge» Name «________» | Signature | «________» |
| Reviewed by | «Quality Coordinator» Name «________» | Signature | «________» |
| Approved by | «Medical Superintendent» Name «________» | Signature | «________» |

# Statement of intent

The organisation has a programme for the facility, engineering support services and utility system.

# 1. Purpose

This policy says how Preview Hospital meets NABH Hospitals 6th Edition standard FMS.4: The organisation has a programme for the facility, engineering support services and utility system.

It covers objective elements FMS.4.a–h (8 elements).

Chapter intent (official Standards PDF): The standards guide the provision of a safe and secure environment for patients, their families, staff and visitors. The organisation attends to the facility, equipment, and internal physical environment for improving patient safety and quality of services by consistently addressing issues that may arise out of the same. The organisation does this through proactive risk analysis, safety rounds, training of staff on the enhancement of safety and management of disasters. To ensure this, the organisation conducts regular facility inspection rounds and takes the appropriate action to ensure safety. The organisation provides for safe water, electricity, medical gases and vacuum systems. The organisation has a programme for medical and utility equipment management. The organisation plans for fire and non-fire emergencies within the facilities. The organisation is a no-smoking area. The organisation safely manages hazardous materials. The organisation works towards measures on being energy efficient.

This policy owns FMS.4. Related AAC, COP, MOM, PRE, IPC, PSQ and ROM duties stay with those policies — cross-reference only. Other FMS standards stay with their own policies.

Words marked «like this» are defaults. A blank marked «________» must be filled before issue.

# 2. Scope

This policy applies to engineering, biomedical, nursing and departmental leaders, and staff who run facilities, utilities, medical gases, fire and non-fire emergencies at Preview Hospital, including the «Engineering In-Charge», the «Medical Superintendent», departmental leaders and the Quality Coordinator.

It covers 8 objective elements (FMS.4.a, FMS.4.b, FMS.4.c, FMS.4.d, FMS.4.e, FMS.4.f, FMS.4.g, FMS.4.h).

Boundaries: do not overwrite HCO AAC, COP, MOM, PRE, IPC, PSQ or ROM policies. Spell out abbreviations on first use in training materials. OE counts/levels/asterisks stay with the official portal Standards PDF. Method notes come from the Guidebook Interpretation paragraphs (scanned PDF md5 2c4489ee98de4ae9b49cba168ea9f42a).

# 3. Policy standards

Preview Hospital implements FMS.4 so that the organisation has a programme for the facility, engineering support services and utility system.

Staff follow written guidance, keep the records listed in the OE table, and escalate when stop-work conditions are met (if this policy includes a stop-work section).

# 4. Non-negotiable rules

1. Do not skip: The organisation plans for utility and engineering equipment in accordance with its services and strategic...

2. Do not skip: Equipment is inventoried, and proper logs are maintained as required.

3. Do not skip: The documented operational and maintenance (preventive and breakdown) plan is implemented.

4. Do not skip: Utility equipment, are periodically inspected and calibrated (wherever applicable) for their proper...

5. Do not skip: Competent personnel operate, inspect, test and maintain equipment and utility systems.

6. Do not skip: Maintenance staff is contactable round the clock for emergency repairs.

7. Do not skip: Downtime for critical equipment breakdowns is monitored from reporting to inspection and implementation of...

8. Do not skip: Written guidance supports equipment replacement, identification of unwanted material and disposal.

9. Do not bypass the stop-work authority in section 6 when the trigger conditions are met.

10. Staff who see a FMS.4 rule broken report it the same shift to the «Engineering In-Charge» or the «Medical Superintendent».

# 5. What we do

## 5.1 The organisation plans for utility and engineering equipment in...

The organisation plans utility and engineering equipment to match services and the strategic plan, including future needs (diesel generator, chiller). Plans are implemented and reviewed at a defined interval. Selection, rental, update or upgrade is collaborative (end-user, management, finance, engineering).

The «Engineering In-Charge» holds the current plan.

Method note (from guidebook interpretation): This shall also take into consideration future requirements like DG sets, Chiller plant. The plans shall be fully implemented, and there shall be a process for periodic review of plans. Equipment is selected, rented, updated or upgraded by a collaborative process. Collaborative process implies that during equipment selection, there is involvement of end-user, management, finance and engineering departments.

## 5.2 Equipment is inventoried, and proper logs are maintained as required

Equipment is inventoried and logs are maintained. Each item has a unique identifier. Quality-conformance certificates, factory test certificates and installation reports are kept where they apply.

A plant item with no identity number is incomplete under this element.

Method note (from guidebook interpretation): A unique identification is provided to each equipment. Where applicable, the relevant quality conformance certificates/marks along with manufacturer factory test certificate, and installation report need to be retained as part of the documentation.

## 5.3 The documented operational and maintenance (preventive and breakdown)...

The documented operational and maintenance (preventive and breakdown) plan is implemented for utility and engineering equipment, electrical systems, water, heating-ventilation-air-conditioning, facility and furniture — including transformers, low-tension and high-tension panels, lifts, tanks, reverse-osmosis and sewage-treatment if present, chillers, air-handling units and filters.

Running critical utility equipment with no implemented plan is a stop-work trigger (section 6). This is a CORE asterisked element.

Method note (from guidebook interpretation): This includes plans for all utility equipment, engineering equipment, electrical systems, water management, HVAC, facility and furniture. The operator is trained in handling the equipment. The operational plan must assist the operator in operating the equipment daily. The original equipment manual is a good source for this. In case this is not available, the organisation shall develop the operational plan for the concerned equipment. The maintenance plan shall consider the manufacturer's recommendations, risk level and past maintenance history. There shall be a planned preventive maintenance tracker for utility equipment, facility items and furniture items. Electrical maintenance plans shall incorporate statutory requirements where applicable. Transformers, LT and/or HT panel maintenance shall also be included. All lifts shall be included in this maintenance plan. Water maintenance plans shall include cleaning of water storage tanks at regular intervals and treating of water, where appropriate. It shall also include the RO unit and STP in case it is available in the organisation. HVAC maintenance plans shall include chiller unit, AHU, FCU and various air-conditioners. This shall adhere to the manufacturer’s recommendations and good infection-control practice requirement. This includes timely cleaning and/or replacement of filters. Facility and furniture maintenance plans shall include civil work such a wall, floor and roof, etc., fixed furniture like nurse station, shoe racks, etc., loose furniture like emergency cart, chairs and trolleys. This shall adhere to the manufacturer’s recommendations, good infection-control practice requirement, etc. This includes regular inspections, timely repair of civil structure like walls, servicing of furniture etc.

This objective element is asterisked in the official Standards PDF — documentation of the process is required.

This is a CORE objective element — non-compliance is not acceptable for accreditation.

## 5.4 Utility equipment, are periodically inspected and calibrated (wherever...

Utility equipment is periodically inspected and calibrated where applicable (for example steam-steriliser pressure gauges, medication-refrigerator temperature gauges), in-house or outsourced, with traceability to prescribed standards.

The «Engineering In-Charge» holds the calibration schedule. Portal wording “Utility equipment, are” is kept as printed.

Method note (from guidebook interpretation): For example, pressure gauges of the steam steriliser, temperature gauges of medication refrigerators. The organisation either calibrates the utility equipment in-house or outsources, maintaining traceability to the prescribed standards.

## 5.5 Competent personnel operate, inspect, test and maintain equipment and...

Competent personnel (qualification, experience or training) operate, inspect, test and maintain equipment and utility systems. Enough supervisors and tradespeople, including fire-safety and electrical-safety trained staff, plus tools and personal protective equipment, are available.

A plant running with no competent person named for that shift is escalated to the «Engineering In-Charge».

Method note (from guidebook interpretation): The person could be competent by qualification/ experience or training. The organisation needs to ensure that it has a sufficient number of supervisors and tradesmen, including personnel trained in fire safety and electrical safety. The necessary infrastructure and tools are available like a ladder, voltmeter, spanner and relevant PPE norms like safety boots, gloves. They shall be provided necessary inventories like bulbs, taps, paints etc.

## 5.6 Maintenance staff is contactable round the clock for emergency repairs

Maintenance staff are contactable round the clock for emergency repairs. An escalation matrix (who to call if the person on duty cannot complete the job) is at the nursing station and departments.

A night call with no answer path is not this element.

Method note (from guidebook interpretation): The maintenance escalation matrix (if an emergency repair is not possible by staff on duty, more qualified/experienced staff shall be available) is available at the nursing station and other departments.

## 5.7 Downtime for critical equipment breakdowns is monitored from reporting...

Downtime for critical engineering and utility equipment breakdowns is monitored from reporting to inspection and corrective action. At a minimum the critical list includes diesel generator, lifts, uninterruptible power supply, fire-related equipment, dialysis reverse-osmosis and water pumps. A complaint register records receipt, job allotment and user-ratified completion.

Start of downtime is complaint time; end is user-ratified completion.

Method note (from guidebook interpretation): The organisation shall define the critical engineering and utility equipment. At a minimum, this shall include DG set, lifts, UPS, fire related equipment, RO water plant for dialysis, water pumps etc. A complaint attendance register shall be maintained (physical or electronic) to indicate the date and time of receipt of the complaint, allotment of job and completion of the job. Completion of the job shall always be ratified by the user department. The start of downtime shall be the time when the complaint was lodged, and the end of the downtime shall be the time at which completion of the job was ratified by the user department.

## 5.8 Written guidance supports equipment replacement, identification of...

Written guidance supports equipment replacement, identification of unwanted material and disposal. Unusable utility and engineering equipment is condemned in a systematic way. Records are kept.

This is an asterisked element.

Method note (from guidebook interpretation): The organisation shall plan for this, keeping in mind the strategic plans, upgrade/update path and the equipment log. The organisation shall dispose off (condemn) unusable utility and engineering equipment and other waste material in a systematic manner. All records about condemnation and disposal of equipment and waste shall be maintained.

This objective element is asterisked in the official Standards PDF — documentation of the process is required.

# 6. Stop-work authority

Do not run critical utility equipment (as this hospital names it: at a minimum diesel generator, lifts, uninterruptible power supply, fire-related utility, reverse-osmosis plant for dialysis, water pumps) when there is no implemented operational and maintenance plan, or when the equipment is known unsafe.

Stop-work applies to starting or continuing that equipment. Life-saving care continues under the FMS.7 continuity plan.

The person who stops tells the «Engineering In-Charge» and the «Medical Superintendent» the same shift. Refusing unsafe utility equipment is not a disciplinary matter.

# 7. Governance and responsibility

Medical Superintendent

- Accountable that FMS.4 is resourced and followed.

Engineering In-Charge

- Owns day-to-day implementation and records for this standard.

Quality Coordinator

- Audits this policy «quarterly»; holds training acknowledgements.

departmental leaders

- Run the department-level duties this standard names.

# 8. Quality monitoring (RCA → CAPA)

The Quality Coordinator audits this policy «quarterly». The audit reviews:

- Records for a sample of this standard's objective elements, checked against the What-we-do steps.

- Documentary evidence is on file for each asterisked objective element in the sample.

- CORE objective elements show no critical gaps in the sample.

- Stop-work events (if any) are logged with outcome.

Root-cause analysis is required when a gap found in this audit remains open beyond «90 days».

This policy is reviewed «annually», and sooner after a related facility change, utility failure, equipment recall or fire-plan change.

# 9. Training and staff acknowledgement

Staff covered by this policy are trained at induction and «once a year» after that. Training covers the What-we-do steps, non-negotiables and stop-work (if present).

Staff acknowledgement

I have read this Facility, Engineering Support and Utility Systems policy of Preview Hospital. I will follow the processes described.

Name: ___________________________    Designation: ___________________________

Department / floor: ____________________    Date: ____________

Signature: ___________________________

(One row per staff member. The Quality Coordinator holds signed acknowledgements with the induction record.)

| Name | Designation | Department / floor | Date | Signature |
| --- | --- | --- | --- | --- |

The Quality Coordinator holds signed acknowledgements with the induction record.

# 10. References

- National Accreditation Board for Hospitals and Healthcare Providers (NABH), Accreditation Standards for Hospitals, 6th Edition (January 2025) — Facility Management and Safety, standard FMS.4. Official portal PDF (OE text, counts, levels, asterisks).

- NABH Guidebook to Accreditation Standards for Hospitals, 6th Edition — FMS.4 interpretations (source PDF md5 2c4489ee98de4ae9b49cba168ea9f42a; OCR policies/source/hco6_fms_guidebook_ocr.txt).

- Internal documents of Preview Hospital: facility-inspection records, as-built drawings, utility and medical-equipment logs, medical-gas records, fire and non-fire plans named for FMS.4.

# 11. Distribution

Medical Superintendent; Engineering In-Charge; Quality Coordinator; departmental leaders; staff covered by FMS.4

# 12. Abbreviations

AHU — Air Handling Unit
CAPA — Corrective and Preventive Action
CORE — Core objective element (NABH)
DG — Diesel Generator
ELV — Extra Low Voltage
FMS — Facility Management and Safety (NABH Hospitals 6th Edition chapter)
HCO — Hospital (Full Accreditation programme under NABH Hospitals 6th Edition)
HVAC — Heating, Ventilation and Air Conditioning
MSDS — Material Safety Data Sheet
NABH — National Accreditation Board for Hospitals and Healthcare Providers
OE — Objective Element
PPE — Personal Protective Equipment
RO — Reverse Osmosis
STP — Sewage Treatment Plant

# 13. Traceability to NABH HCO Full Accreditation 6th Edition FMS.4

This table is an index. It is not how the policy is organised.

| OE | Requirement | Where this policy addresses it | Responsible |
| --- | --- | --- | --- |
| FMS.4.a | The organisation plans for utility and engineering equipment in accordance with its services and strategic plan. | Section 3; 5.1; Section 6 Stop-work | Engineering In-Charge |
| FMS.4.b | Equipment is inventoried, and proper logs are maintained as required. | Section 3; 5.2; Section 6 Stop-work | Engineering In-Charge |
| FMS.4.c | The documented operational and maintenance (preventive and breakdown) plan is implemented. | Section 3; 5.3; Section 6 Stop-work | Engineering In-Charge |
| FMS.4.d | Utility equipment, are periodically inspected and calibrated (wherever applicable) for their proper functioning. | Section 3; 5.4; Section 6 Stop-work | Engineering In-Charge |
| FMS.4.e | Competent personnel operate, inspect, test and maintain equipment and utility systems. | Section 3; 5.5; Section 6 Stop-work | Engineering In-Charge |
| FMS.4.f | Maintenance staff is contactable round the clock for emergency repairs. | Section 3; 5.6; Section 6 Stop-work | Engineering In-Charge |
| FMS.4.g | Downtime for critical equipment breakdowns is monitored from reporting to inspection and implementation of corrective actions. | Section 3; 5.7; Section 6 Stop-work | Engineering In-Charge |
| FMS.4.h | Written guidance supports equipment replacement, identification of unwanted material and disposal. | Section 3; 5.8; Section 6 Stop-work | Engineering In-Charge |

# 14. Required Records / Evidence Checklist

Records the hospital holds under this policy, listed by objective element.

## FMS.4.a — The organisation plans for utility and engineering equipment in accordance with its services and strategic plan.

- Written utility and engineering equipment plan matched to services and the strategic plan, including future needs (for example diesel generator, chiller).

- Periodic review record of the plan.

- Record showing collaborative selection (end-user, management, finance, engineering) for equipment decisions.

## FMS.4.b — Equipment is inventoried, and proper logs are maintained as required.

- Equipment inventory with a unique identifier per item.

- Quality-conformance, factory test or installation certificate on file where applicable.

- Log-completeness check confirming no item without an identity.

## FMS.4.c — The documented operational and maintenance (preventive and breakdown) plan is implemented.

- Documented operational and maintenance (preventive and breakdown) plan for utility and engineering equipment.

- Preventive-maintenance schedule and completion log for the critical-equipment list.

- Breakdown-response record showing the plan was actually followed.

## FMS.4.d — Utility equipment, are periodically inspected and calibrated (wherever applicable) for their proper functioning.

- Calibration schedule for utility equipment (for example steam-steriliser pressure gauges, medication-refrigerator temperature gauges).

- Calibration certificate with traceability to a prescribed standard.

- In-house or outsourced calibration record.

## FMS.4.e — Competent personnel operate, inspect, test and maintain equipment and utility systems.

- Competency or training record for staff operating utility equipment.

- Roster showing a named competent person for each shift.

- Escalation record for any shift with no competent person named.

## FMS.4.f — Maintenance staff is contactable round the clock for emergency repairs.

- Escalation matrix displayed at the nursing station and departments.

- On-call roster for maintenance staff, round the clock.

- Night-call response-time log.

## FMS.4.g — Downtime for critical equipment breakdowns is monitored from reporting to inspection and implementation of corrective actions.

- Complaint register logging receipt, job allotment and user-ratified completion for critical equipment (diesel generator, lifts, UPS, fire-related, dialysis RO, water pumps).

- Downtime-duration record from complaint time to ratified completion.

- Trend report reviewed against the critical-equipment list.

## FMS.4.h — Written guidance supports equipment replacement, identification of unwanted material and disposal.

- Written equipment-replacement and disposal guidance.

- Condemnation record for utility and engineering equipment.

- Systematic disposal log.

# Disclaimer

This document is a template prepared for the guidance of Preview Hospital and must be reviewed, adapted and formally approved by Preview Hospital before use. Every entry marked [Hospital to define] must be replaced with the hospital's own decision; a document issued with those markers left in place is not an approved policy.

The requirements in this document are accreditation requirements of the NABH Full Accreditation Standards for Hospitals, 6th Edition, not duties under a named Act of Parliament. This policy does not import the Consumer Protection Act, 2019, the Clinical Establishments Act, 2010, or the Mental Healthcare Act, 2017 as a checklist. Statutory duties that arise under other documents of Preview Hospital remain those documents. Preview Hospital is responsible for verifying any statutory duty that applies to it; this document does not constitute legal advice.

The clinical and technical content reflects recognised national and international guidance current at the date of preparation. Preview Hospital remains responsible for verifying that it is current and consistent with the edition of the accreditation standard against which it is being assessed.

This document is not issued by, endorsed by, or affiliated with NABH, the World Health Organization, the National Centre for Disease Control, the Food Safety and Standards Authority of India, any Pollution Control Board, or any other body named in it. Wording is original; no text has been reproduced from the standards, rules or guidelines referenced.