Preview Hospital

Implantable Prosthesis and Medical Devices

HCO Full Accreditation, 6th Edition — MOM.10.

# Document control

« » marks an editable default a small hospital can adopt. «________» is a true blank and must be completed before issue.

| Document No. | «HCO/MOM/POL/10» | Version | 2.0 |
| --- | --- | --- | --- |
| Issue No. | «01» | Review due | «one year from implementation» |
| Date created | «________» | Date of implementation | «________» |
| Prepared by | «OT In-Charge» Name «________» | Signature | «________» |
| Reviewed by | «Quality Coordinator» Name «________» | Signature | «________» |
| Approved by | «Medical Superintendent» Name «________» | Signature | «________» |

# Statement of intent

Implantable prosthesis and medical devices shall be used in accordance with laid down criteria.

# 1. Purpose

This policy says how Preview Hospital meets NABH Hospitals 6th Edition standard MOM.10: Implantable prosthesis and medical devices shall be used in accordance with laid down criteria.

It covers objective elements MOM.10.a–e (5 elements).

Chapter intent (official Standards PDF): The organisation has a safe and organised medication management process. Availability, safe storage, prescription, dispensing and administration of medications are governed by written guidance. A medication safety officer is designated. The hospital formulary is developed, implemented and updated. Pharmacy has oversight of medications stocked out of the pharmacy. Reconciliation occurs at transition points. Patients are monitored after administration. Near misses, medication errors and adverse drug reactions are reported and analysed. Medications also include blood, implants and devices. Medical supplies and consumables are available for use.

This policy owns MOM.10. Related AAC, COP, PRE, IPC/HIC and HRM duties stay with those policies — cross-reference only. Other MOM standards stay with their own policies.

Words marked «like this» are defaults. A blank marked «________» must be filled before issue.

# 2. Scope

This policy applies to staff who prescribe, dispense, administer, store, monitor or oversee medications (or, for MOM.10–11, implants / medical devices / medical supplies) at Preview Hospital, including the «OT In-Charge», pharmacy, nursing, treating doctors and the Quality Coordinator.

It covers 5 objective elements (MOM.10.a, MOM.10.b, MOM.10.c, MOM.10.d, MOM.10.e).

Boundaries: do not copy SHCO MOM wording. Do not overwrite HCO AAC or COP policies. Spell out abbreviations on first use in training materials. Guidebook Interpretation paragraphs were not available for MOM in this drafting environment — methods follow official OE text and chapter intent.

# 3. Policy standards

Preview Hospital implements MOM.10 so that implantable prosthesis and medical devices shall be used in accordance with laid down criteria.

Staff follow written guidance, keep the records listed in the OE table, and escalate when stop-work triggers fire (if this policy includes a stop-work section).

# 4. Non-negotiable rules

1. Do not skip: Usage of implantable prosthesis and medical devices is guided by scientific criteria for each item and nati...

2. Do not skip: The organisation implements a mechanism for the usage of the implantable prosthesis and medical devices.

3. Do not skip: Patient and his / her family are counselled for the usage of the implantable prosthesis and medical device,...

4. Do not skip: The batch and the serial number of the implantable prosthesis and medical devices are recorded in the patie...

5. Do not skip: Process of recall of implantable prosthesis and medical devices are handled effectively.

6. Staff who see a MOM.10 rule broken report it the same shift to the «department in-charge» or the «Medication Safety Officer».

# 5. What we do

## 5.1 Usage of implantable prosthesis and medical devices is guided by scie...

Implantable prostheses and medical devices used at Preview Hospital are selected against scientific criteria and national / international recognised guidelines or approvals for that item (for example CDSCO / Medical Devices Rules approvals, BIS where named, and specialty-society indications).

The OT / cath-lab / relevant clinical head and Biomedical keep an approved-item list. An implant without recognised approval is not used except under a documented trial / compassionate pathway approved by the «Medical Superintendent».

## 5.2 The organisation implements a mechanism for the usage of the implanta...

The organisation implements a written mechanism for using these items: request and approval, sterile-supply chain, intra-operative timeout confirming the implant, and recording of identifiers (section 5.4).

The «OT In-Charge» owns the mechanism for surgical implants; the relevant lab / cath-lab in-charge owns it for devices used there. This asterisked element is the procedure, not only the criteria in 5.1.

This objective element is asterisked in the official Standards PDF — documentation of the process is required.

## 5.3 Patient and his / her family are counselled for the usage of the impl...

The patient and family are counselled before implantation on what will be implanted, expected benefit, material risks, alternatives, and precautions after implant (MRI compatibility, anticoagulation, infection signs, follow-up).

Counselling is recorded in the medical record (consent process may sit with PRE; this policy owns the implant-specific content). Emergency life-saving implants are counselled as soon as practicable.

## 5.4 The batch and the serial number of the implantable prosthesis and med...

Batch and serial number (or equivalent unique identifier) of the implantable prosthesis or medical device are recorded in three places: the patient's medical record, the master implant logbook, and the discharge summary.

A sticker from the implant pack is the usual source; if it is lost, pharmacy / stores trace the batch before the patient leaves. Missing identifiers are a reportable gap.

## 5.5 Process of recall of implantable prosthesis and medical devices are h...

When an implant or device is recalled, the «OT In-Charge / Biomedical» traces every affected batch from the master logbook, contacts the treating team and, where required, the patient, and follows the supplier / regulator instruction (explant, extra surveillance, or information only).

The recall file holds the notice, patients identified, actions taken and closure. This asterisked Achievement element is evidenced by a drill or a real recall file, not by a sentence in this policy.

This objective element is asterisked in the official Standards PDF — documentation of the process is required.

# 6. Governance and responsibility

- Medical Superintendent

- Accountable that MOM.10 is resourced and followed.

- Designates the Medication Safety Officer (chapter intent) where that role is required for this standard.

- OT In-Charge

- Owns day-to-day implementation and records for this standard.

- Medication Safety Officer

- Coordinates medication-safety processes that cut across MOM standards; brings incidents and audits to the Drug and Therapeutics Committee.

- Pharmacy / nursing / treating doctors (as applicable)

- Deliver the process as written; escalate stop-work triggers without delay.

- Quality Coordinator

- Audits this policy «quarterly»; holds training acknowledgements.

# 7. Quality monitoring (RCA → CAPA)

The Quality Coordinator audits this policy «quarterly».

What is monitored each quarter:

- Sample of records for each OE MOM.10.a–e.

- Asterisked elements (be) have document evidence as required.

- CORE elements (none) show no critical gaps in the sample.

- Stop-work events (if any) are logged with outcome.

This policy is reviewed «annually», and sooner after a related adverse event or recall.

# 8. Training and staff acknowledgement

Staff covered by this policy are trained at induction and «once a year» after that. Training covers the What-we-do steps, non-negotiables and stop-work (if present).

Staff acknowledgement

I have read this Implantable Prosthesis and Medical Devices policy of Preview Hospital. I will follow the processes described.

Name: ___________________________    Designation: ___________________________

Department / floor: ____________________    Date: ____________

Signature: ___________________________

(One row per staff member. The Quality Coordinator holds signed acknowledgements with the induction record.)

| Name | Designation | Department / floor | Date | Signature |
| --- | --- | --- | --- | --- |

The Quality Coordinator holds signed acknowledgements with the induction record.

# 9. References

- National Accreditation Board for Hospitals and Healthcare Providers (NABH), Accreditation Standards for Hospitals, 6th Edition (January 2025) — Management of Medication, standard MOM.10. Official portal PDF.

- Internal documents of Preview Hospital: written guidance, formulary, high-risk and emergency-medication lists, registers and incident forms named for MOM.10.

# 10. Distribution

Medical Superintendent; OT In-Charge; Medication Safety Officer; Pharmacy In-Charge; Nursing Superintendent; Quality Coordinator; department clinical staff covered by MOM.10

# 11. Abbreviations

ADR — adverse drug reaction
CAPA — Corrective and Preventive Action
CORE — Core objective element (NABH)
DTC — Drug and Therapeutics Committee (or the organisation's equivalent multi-disciplinary pharmacy committee)
FEFO — first expiry, first out
HCO — Hospital (Full Accreditation programme under NABH Hospitals 6th Edition)
LASA — look-alike, sound-alike
MOM — Management of Medication (NABH Hospitals chapter)
MSO — Medication Safety Officer
NABH — National Accreditation Board for Hospitals and Healthcare Providers
OE — Objective Element

# 12. Traceability to NABH HCO Full Accreditation 6th Edition MOM.10

This table is an index. It is not how the policy is organised.

| OE | Requirement | Where this policy addresses it | Responsible |
| --- | --- | --- | --- |
| MOM.10.a | Usage of implantable prosthesis and medical devices is guided by scientific criteria for each item and national / international recognised guidelines / approvals for such specific item(s). | Section 3; 5.1 | OT In-Charge |
| MOM.10.b | The organisation implements a mechanism for the usage of the implantable prosthesis and medical devices. | Section 3; 5.2 | OT In-Charge |
| MOM.10.c | Patient and his / her family are counselled for the usage of the implantable prosthesis and medical device, including precautions if any. | Section 3; 5.3 | OT In-Charge |
| MOM.10.d | The batch and the serial number of the implantable prosthesis and medical devices are recorded in the patient's medical record, the master logbook and the discharge summary. | Section 3; 5.4 | OT In-Charge |
| MOM.10.e | Process of recall of implantable prosthesis and medical devices are handled effectively. | Section 3; 5.5 | OT In-Charge |

# 13. Required Records / Evidence Checklist

Records the hospital holds under this policy, listed by objective element.

## MOM.10.a — Usage of implantable prosthesis and medical devices is guided by scientific criteria for each item and national / international recognised guidelines / approvals for such specific item(s).

- Records showing MOM.10.a was followed for sampled patients/cases.

- Written guidance / protocol referenced for this element (where required).

- Audit sample notes for MOM.10.a reviewed «quarterly».

## MOM.10.b — The organisation implements a mechanism for the usage of the implantable prosthesis and medical devices.

- Records showing MOM.10.b was followed for sampled patients/cases.

- Written guidance / protocol referenced for this element (where required).

- Audit sample notes for MOM.10.b reviewed «quarterly».

- Documented evidence specifically required by the asterisked objective element.

## MOM.10.c — Patient and his / her family are counselled for the usage of the implantable prosthesis and medical device, including precautions if any.

- Records showing MOM.10.c was followed for sampled patients/cases.

- Written guidance / protocol referenced for this element (where required).

- Audit sample notes for MOM.10.c reviewed «quarterly».

## MOM.10.d — The batch and the serial number of the implantable prosthesis and medical devices are recorded in the patient's medical record, the master logbook and the discharge summary.

- Records showing MOM.10.d was followed for sampled patients/cases.

- Written guidance / protocol referenced for this element (where required).

- Audit sample notes for MOM.10.d reviewed «quarterly».

## MOM.10.e — Process of recall of implantable prosthesis and medical devices are handled effectively.

- Records showing MOM.10.e was followed for sampled patients/cases.

- Written guidance / protocol referenced for this element (where required).

- Audit sample notes for MOM.10.e reviewed «quarterly».

- Documented evidence specifically required by the asterisked objective element.

# Disclaimer

This document is a template prepared for the guidance of Preview Hospital and must be reviewed, adapted and formally approved by Preview Hospital before use. Every entry marked [Hospital to define] must be replaced with the hospital's own decision; a document issued with those markers left in place is not an approved policy.

The requirements in this document are accreditation requirements of the NABH Full Accreditation Standards for Hospitals, 6th Edition, not duties under a named Act of Parliament. This policy does not import the Consumer Protection Act, 2019, the Clinical Establishments Act, 2010, or the Mental Healthcare Act, 2017 as a checklist. Statutory duties that arise under other documents of Preview Hospital remain those documents. Preview Hospital is responsible for verifying any statutory duty that applies to it; this document does not constitute legal advice.

The clinical and technical content reflects recognised national and international guidance current at the date of preparation. Preview Hospital remains responsible for verifying that it is current and consistent with the edition of the accreditation standard against which it is being assessed.

This document is not issued by, endorsed by, or affiliated with NABH, the World Health Organization, the National Centre for Disease Control, the Food Safety and Standards Authority of India, any Pollution Control Board, or any other body named in it. Wording is original; no text has been reproduced from the standards, rules or guidelines referenced.