AAC.9.i — Safety device testing (Commitment*)

AAC.9 Record 16 — Lead Apron/Shield Periodic Test Record

What is this record, in plain terms? Periodic test images and results for lead aprons and shields (X-ray/fluoroscopy/CT scout view for cracks). Every time this happens for real, whoever is responsible adds one new row to the table below, filling in: Item, Test Date, Result (Pass/Fail), Action if Failed. A worked example row is already filled in below (shaded) so you can see exactly what a completed entry looks like — replace it, or add your own rows below it, but don't leave the example mixed in with real data.

A real example of when you'd use this Whoever is responsible adds a new row the moment it genuinely happens — in this case, that means periodic test images and results for lead aprons and shields (X-ray/fluoroscopy/CT scout view for cracks). The worked example below shows a real entry: on 10-Jan-2026, item was “Lead apron #4”, result (pass/fail) was “Fail — crack detected” — so action if failed was “Removed from use, replacement ordered”.

Why does NABH ask for this? Radiation exposure that isn't actually monitored can accumulate unnoticed until it's a real harm to staff — this record is the proof monitoring and protective equipment checks genuinely happened. This element is also starred, meaning NABH specifically requires written documentary evidence, not just a verbal assurance that the practice happens.

How to fill this in — column by column

Item: Enter the actual item for this specific entry — real information from what actually happened, not a placeholder. The worked example row below shows 'Lead apron #4' in this column, so you can see the level of detail expected — write your own real entry in that same style, not a copy of the example.

Test Date: Enter the actual test date for this specific entry — real information from what actually happened, not a placeholder. The worked example row below shows '10-Jan-2026' in this column, so you can see the level of detail expected — write your own real entry in that same style, not a copy of the example.

Result (Pass/Fail): What was actually found or what happened as a result — write the real outcome, not just 'done' or 'ok' without detail. The worked example row below shows 'Fail — crack detected' in this column, so you can see the level of detail expected — write your own real entry in that same style, not a copy of the example.

Action if Failed: Enter the actual action if failed for this specific entry — real information from what actually happened, not a placeholder. The worked example row below shows 'Removed from use, replacement ordered' in this column, so you can see the level of detail expected — write your own real entry in that same style, not a copy of the example.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

| Item | Test Date | Result (Pass/Fail) | Action if Failed |
| --- | --- | --- | --- |
| WORKED EXAMPLE — TRAINING ONLY — NOT AN ACTUAL HOSPITAL RECORD |  |  |  |
| Lead apron #4 | 10-Jan-2026 | Fail — crack detected | Removed from use, replacement ordered |