FMS.2.e — Alternate sources for electricity and water are provided as a backup for any failure / shortage.

FMS.2 Record 13 — Alternate sources for electricity and water are provided as a backup for any failure / shortage.

What is this record, in plain terms? This record is where you keep the proof for: “Backup-source inventory: diesel generator, solar, uninterruptible power supply, bore/tanker/extra tanks as named.” — the specific evidence element Alternate sources for electricity and water are provided as a backup for any failure / shortage. of this policy asks for. Every time this happens for real, whoever is responsible adds one new row below with: Item / Area, Category / Type, Unique Identifier, Location, Date Last Verified. A worked example row is already filled in below (shaded) so you can see exactly what a completed real entry looks like — replace it, or add your own rows below it, but don't leave the example mixed in with real data.

A real example of when you'd use this The Electrical Supervisor uses this record whenever a backup source is inventoried, its load calculated, or a continuity gap is acted on. The worked example below shows a real entry: on 10-Jan-2026, item / area was “Diesel generator, 400 kVA — main block”, category / type was “Backup electrical source”, unique identifier was “DG-01”.

Why does NABH ask for this? A backup source that exists on paper but was never sized against real demand fails exactly when the primary source does — this record proves the backup can genuinely carry the load. NABH checks this as part of how a genuinely safe physical environment actually runs, not just what's written about it.

How to fill this in — column by column

Item / Area: The specific item or area — name it precisely, not a category like 'safety equipment.'

Category / Type: What kind of item/area this is.

Unique Identifier: The item's actual unique ID/tag number, if it has one — write 'not tagged' if it genuinely has none yet, don't leave blank.

Location: Exactly where this item/area is — specific enough that someone unfamiliar with the building could find it.

Date Last Verified: The date this entry was last actually checked/verified still accurate.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

| Item / Area | Category / Type | Unique Identifier | Location | Date Last Verified |
| --- | --- | --- | --- | --- |
| WORKED EXAMPLE — TRAINING ONLY — NOT AN ACTUAL HOSPITAL RECORD |  |  |  |  |
| Diesel generator, 400 kVA — main block | Backup electrical source | DG-01 | Generator yard, main block | 10-Jan-2026 |