FMS.2.f — The organisation tests the functioning of these alternate sources at a predefined frequency.

FMS.2 Record 17 — The organisation tests the functioning of these alternate sources at a predefined frequency.

What is this record, in plain terms? This record is where you keep the proof for: “Water-acceptance test record for any occasion an emergency water source was used.” — the specific evidence element The organisation tests the functioning of these alternate sources at a predefined frequency. of this policy asks for. Every time this happens for real, whoever is responsible adds one new row below with: Test Date, Item/System Tested, Result, Tested By, Next Test Due. A worked example row is already filled in below (shaded) so you can see exactly what a completed real entry looks like — replace it, or add your own rows below it, but don't leave the example mixed in with real data.

A real example of when you'd use this The Electrical Supervisor uses this record whenever an alternate source is actually tested, at its defined frequency. The worked example below shows a real entry: on 20-Jan-2026, item/system tested was “Diesel generator — main block”, tested by was “Electrical Supervisor”, next test due was “20-Feb-2026” — so result was “Started within 10 seconds; ran 30 min on load, no fault”.

Why does NABH ask for this? A backup generator nobody has actually started in months is a backup in name only — this record proves it was tested for real, on schedule. NABH checks this as part of how a genuinely safe physical environment actually runs, not just what's written about it.

How to fill this in — column by column

Test Date: The actual date this test was carried out — not the scheduled date if it slipped.

Item/System Tested: The specific item or system tested — name it precisely.

Result: What actually happened during the test — a real result, not 'passed' with no detail.

Tested By: Who actually carried out the test.

Next Test Due: When this is next due to be tested.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

| Test Date | Item/System Tested | Result | Tested By | Next Test Due |
| --- | --- | --- | --- | --- |
| WORKED EXAMPLE — TRAINING ONLY — NOT AN ACTUAL HOSPITAL RECORD |  |  |  |  |
| 20-Jan-2026 | Diesel generator — main block | Started within 10 seconds; ran 30 min on load, no fault | Electrical Supervisor | 20-Feb-2026 |