FMS.3.f — The plan for managing spills of hazardous materials is implemented.

FMS.3 Record 18 — The plan for managing spills of hazardous materials is implemented.

What is this record, in plain terms? This record is where you keep the proof for: “Training record for staff handling that material.” — the specific evidence element The plan for managing spills of hazardous materials is implemented. of this policy asks for. Every time this happens for real, whoever is responsible adds one new row below with: Date, Staff Name, Equipment/Topic, Trainer, Competent (Y/N). A worked example row is already filled in below (shaded) so you can see exactly what a completed real entry looks like — replace it, or add your own rows below it, but don't leave the example mixed in with real data.

A real example of when you'd use this Staff handling hazardous materials use this record whenever an MSDS is made accessible, a spill kit is checked, or training is delivered. The worked example below shows a real entry: on 10-Jan-2026, staff name was “R. Shah (Housekeeping Supervisor)”, equipment/topic was “Chemical/biological spill-kit use and spill-response procedure”, trainer was “Infection Control Nurse”.

Why does NABH ask for this? A spill plan that exists only as a policy document, with no kit and no trained staff on the actual floor, fails at exactly the moment a real spill happens — this record proves the plan was genuinely put into practice. NABH checks this as part of how a genuinely safe physical environment actually runs, not just what's written about it.

How to fill this in — column by column

Date: The date this training actually took place.

Staff Name: The actual name of the staff member trained.

Equipment/Topic: The specific equipment or topic covered — name the exact device/system, not 'equipment training.'

Trainer: Who delivered the training.

Competent (Y/N): Whether the person actually demonstrated competence — Y or N, not assumed.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

| Date | Staff Name | Equipment/Topic | Trainer | Competent (Y/N) |
| --- | --- | --- | --- | --- |
| WORKED EXAMPLE — TRAINING ONLY — NOT AN ACTUAL HOSPITAL RECORD |  |  |  |  |
| 10-Jan-2026 | R. Shah (Housekeeping Supervisor) | Chemical/biological spill-kit use and spill-response procedure | Infection Control Nurse | Y |