FMS.5.b — Medical equipment is inventoried and proper logs are maintained as required.

FMS.5 Record 4 — Medical equipment is inventoried and proper logs are maintained as required.

What is this record, in plain terms? This record is where you keep the proof for: “Medical-equipment inventory classified by device risk, with a unique identifier including rental and demonstration items.” — the specific evidence element Medical equipment is inventoried and proper logs are maintained as required. of this policy asks for. Every time this happens for real, whoever is responsible adds one new row below with: Item / Area, Category / Type, Unique Identifier, Location, Date Last Verified. A worked example row is already filled in below (shaded) so you can see exactly what a completed real entry looks like — replace it, or add your own rows below it, but don't leave the example mixed in with real data.

A real example of when you'd use this The Biomedical Engineer uses this record whenever medical equipment is added to inventory or its documentation is checked complete. The worked example below shows a real entry: on 10-Jan-2026, item / area was “Anaesthesia workstation, OT-2”, category / type was “Medical equipment — high risk”, unique identifier was “ME-0341”.

Why does NABH ask for this? Medical equipment with no unique identity, including rented or demo units, can't be tracked for recalls, maintenance or replacement — this record proves every real item actually has one. NABH checks this as part of how a genuinely safe physical environment actually runs, not just what's written about it.

How to fill this in — column by column

Item / Area: The specific item or area — name it precisely, not a category like 'safety equipment.'

Category / Type: What kind of item/area this is.

Unique Identifier: The item's actual unique ID/tag number, if it has one — write 'not tagged' if it genuinely has none yet, don't leave blank.

Location: Exactly where this item/area is — specific enough that someone unfamiliar with the building could find it.

Date Last Verified: The date this entry was last actually checked/verified still accurate.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

| Item / Area | Category / Type | Unique Identifier | Location | Date Last Verified |
| --- | --- | --- | --- | --- |
| WORKED EXAMPLE — TRAINING ONLY — NOT AN ACTUAL HOSPITAL RECORD |  |  |  |  |
| Anaesthesia workstation, OT-2 | Medical equipment — high risk | ME-0341 | Operation Theatre 2 | 10-Jan-2026 |