FMS.6.a — Written guidance governs the implementation of procurement, handling, storage, distribution, usage and replenishment of medical gases.

FMS.6 Record 1 — Written guidance governs the implementation of procurement, handling, storage, distribution, usage and replenishment of medical gases.

What is this record, in plain terms? This record is where you keep the proof for: “Written medical-gas procurement, handling, storage, distribution, usage and replenishment guidance, including colour-coding and signage.” — the specific evidence element Written guidance governs the implementation of procurement, handling, storage, distribution, usage and replenishment of medical gases. of this policy asks for. Every time this happens for real, whoever is responsible adds one new row below with: Version, Date Approved, Approved By, Covers, Next Review Due. A worked example row is already filled in below (shaded) so you can see exactly what a completed real entry looks like — replace it, or add your own rows below it, but don't leave the example mixed in with real data.

A real example of when you'd use this The Facility Manager uses this record whenever medical-gas guidance is written, a reference standard applied, or a statutory provision checked. The worked example below shows a real entry: on 10-Jan-2026, version was “v1.0”, approved by was “Facility Manager / Medical Superintendent”, covers was “Medical-gas procurement, handling, storage, distribution, usage and replenishment”.

Why does NABH ask for this? Medical gases handled without real, written, statute-aware guidance is how a cylinder gets mishandled in a way that's actively dangerous — this record proves the guidance is real and the relevant statutes were actually checked. NABH checks this as part of how a genuinely safe physical environment actually runs, not just what's written about it.

How to fill this in — column by column

Version: Version number — start at v1.0, increase for each revision.

Date Approved: The date this version was actually approved.

Approved By: Who approved it.

Covers: What this specific version actually covers — name the equipment/systems, don't write 'all equipment.'

Next Review Due: The date this plan is next due for review.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

| Version | Date Approved | Approved By | Covers | Next Review Due |
| --- | --- | --- | --- | --- |
| WORKED EXAMPLE — TRAINING ONLY — NOT AN ACTUAL HOSPITAL RECORD |  |  |  |  |
| v1.0 | 10-Jan-2026 | Facility Manager / Medical Superintendent | Medical-gas procurement, handling, storage, distribution, usage and replenishment | 10-Jan-2027 |

Where this requirement comes from (verified, clickable sources)

NABH — Accreditation Standards for Hospitals, 6th Edition, FMS.6 — named source, no working link could be verified from here; check directly.