FMS.6.b — Medical gases are handled, stored, distributed and used in a safe manner.

FMS.6 Record 5 — Medical gases are handled, stored, distributed and used in a safe manner.

What is this record, in plain terms? This record is where you keep the proof for: “Twenty-four-hour plant-alarm monitoring record.” — the specific evidence element Medical gases are handled, stored, distributed and used in a safe manner. of this policy asks for. Every time this happens for real, whoever is responsible adds one new row below with: Date, Time, Alarm Status, Action Taken, Monitored By. A worked example row is already filled in below (shaded) so you can see exactly what a completed real entry looks like — replace it, or add your own rows below it, but don't leave the example mixed in with real data.

A real example of when you'd use this The Biomedical Engineer uses this record whenever the gas/pipeline inventory is checked, an alarm event is monitored, or an outlet is verified. The worked example below shows a real entry: on 18-Jan-2026, time was “03:20”, alarm status was “Low-pressure alarm, oxygen manifold — triggered”, monitored by was “Plant Operator (on duty)” — so action taken was “Auto-changeover to standby bank confirmed; primary bank replaced by 06:00”.

Why does NABH ask for this? A medical-gas system with no real 24x7 alarm monitoring or verified pin-indexing is a silent failure waiting to happen at the bedside — this record proves the safeguards actually work, not just that they were installed once. This is a CORE requirement — NABH treats it as non-negotiable, not aspirational.

How to fill this in — column by column

Date: The real date of this log entry, or the date of an actual alarm event.

Time: The actual time.

Alarm Status: What the alarm system actually showed — 'normal' is a valid real entry too.

Action Taken: What was actually done in response.

Monitored By: Who was actually monitoring at the time.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

| Date | Time | Alarm Status | Action Taken | Monitored By |
| --- | --- | --- | --- | --- |
| WORKED EXAMPLE — TRAINING ONLY — NOT AN ACTUAL HOSPITAL RECORD |  |  |  |  |
| 18-Jan-2026 | 03:20 | Low-pressure alarm, oxygen manifold — triggered | Auto-changeover to standby bank confirmed; primary bank replaced by 06:00 | Plant Operator (on duty) |