IPC.4.a — Engineering controls

IPC.4 Record 3 — Engineering controls

What is this record, in plain terms? This record is where you keep the proof for: “Water-quality test results.” — the specific evidence element IPC.4.a (Commitment*) of this policy asks for. Every time this activity actually happens, whoever did it adds one new row below with: Date, System / Equipment Checked, Parameter Measured, Result, Checked By. A worked example row is already filled in (shaded) below the header, so you can see exactly what a completed real entry looks like — don't leave that example row mixed in with real data once you start using this record.

A real example of when you'd use this Whoever does the annual check logs a new entry once the real system is actually inspected. The worked example below shows a real entry: on 10-Jan-2026, system / equipment checked was “OT air handling unit”, parameter measured was “Air changes per hour”, checked by was “Biomedical Engineer” — so result was “20 ACH (meets requirement)”.

Why does NABH ask for this? Bed spacing, OT zoning, and air and water systems are the physical infrastructure infection control depends on — no amount of good clinical practice compensates for a ventilation or water system that isn't actually working. This record is the evidence those systems are checked and maintained, not assumed to be fine. This is a Commitment-level requirement — NABH expects the hospital to be actively working toward and evidencing it, not just planning to.

How to fill this in — column by column

Date: Date of the check.

System / Equipment Checked: Which engineering control was checked — air handling, water system, etc.

Parameter Measured: What was actually measured.

Result: The result, with a note on whether it meets the required standard.

Checked By: Who did the check.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

| Date | System / Equipment Checked | Parameter Measured | Result | Checked By |
| --- | --- | --- | --- | --- |
| WORKED EXAMPLE — TRAINING ONLY — NOT AN ACTUAL HOSPITAL RECORD |  |  |  |  |
| 10-Jan-2026 | OT air handling unit | Air changes per hour | 20 ACH (meets requirement) | Biomedical Engineer |