IPC.7.c — Re-use register and patient information

IPC.7 Record 9 — Re-use register and patient information

What is this record, in plain terms? This record is where you keep the proof for: “Re-use register listing identified re-usable items with defined re-use count and reprocessing method for each.” — the specific evidence element IPC.7.c (Commitment*) of this policy asks for. Every time this activity actually happens, whoever did it adds one new row below with: Re-usable Item, Defined Re-use Count/Limit, Reprocessing Method, Uses So Far, Status. A worked example row is already filled in (shaded) below the header, so you can see exactly what a completed real entry looks like — don't leave that example row mixed in with real data once you start using this record.

A real example of when you'd use this The CSSD technician or bedside staff logs a new entry the moment a real re-usable item is actually reprocessed or issued to a specific patient. The worked example below shows a real entry: re-usable item was “Laryngoscope blade (reusable)”, defined re-use count/limit was “Up to 50 uses or 6 months, whichever comes first”, reprocessing method was “High-level disinfection per CSSD protocol” — so status was “In use — within limit”.

Why does NABH ask for this? Reusing a single-use-labelled item beyond a safe limit — or without telling the patient — is both a clinical risk and an ethical one. This record proves each re-usable item's re-use count was actually tracked and respected, and that the patient was genuinely informed, not just theoretically entitled to be. This is a Commitment-level requirement — NABH expects the hospital to be actively working toward and evidencing it, not just planning to.

How to fill this in — column by column

Re-usable Item: The specific item that's identified as re-usable — name it, don't write 'various items.'

Defined Re-use Count/Limit: The actual limit set for this item, by count and/or time — whichever is reached first.

Reprocessing Method: The specific method used to reprocess it between uses.

Uses So Far: The real running count for this specific item, updated each time it's used.

Status: In use / retired — retire the item the moment it hits its defined limit, don't let it run over.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

| Re-usable Item | Defined Re-use Count/Limit | Reprocessing Method | Uses So Far | Status |
| --- | --- | --- | --- | --- |
| WORKED EXAMPLE — TRAINING ONLY — NOT AN ACTUAL HOSPITAL RECORD |  |  |  |  |
| Laryngoscope blade (reusable) | Up to 50 uses or 6 months, whichever comes first | High-level disinfection per CSSD protocol | 22 uses | In use — within limit |