IPC.7.d — Validation test records

IPC.7 Record 12 — Validation test records

What is this record, in plain terms? This record is where you keep the proof for: “Daily physical/chemical indicator records for each sterilisation load.” — the specific evidence element IPC.7.d (Commitment*) of this policy asks for. Every time this activity actually happens, whoever did it adds one new row below with: Date, Load Number, Indicator Type, Result, Recorded By. A worked example row is already filled in (shaded) below the header, so you can see exactly what a completed real entry looks like — don't leave that example row mixed in with real data once you start using this record.

A real example of when you'd use this The CSSD technician logs a new entry for every real sterilisation load, daily for physical/chemical indicators and weekly for biological ones. The worked example below shows a real entry: on 10-Jan-2026, load number was “AUT-2026-0110-03”, indicator type was “Physical/Chemical Indicator”, recorded by was “CSSD Technician” — so result was “Pass”.

Why does NABH ask for this? A sterilizer can complete its full cycle and still fail to actually sterilise its contents, because of a blocked drain, a wrong load, or a fault that looks completely normal from the outside. Physical, chemical and biological indicator tests are the only way to know a specific load was genuinely sterile, and this record is that proof, load by load — not an assumption that the machine did its job. This is a Commitment-level requirement — NABH expects the hospital to be actively working toward and evidencing it, not just planning to.

How to fill this in — column by column

Date: Date of the test — every load.

Load Number: The specific load this test belongs to.

Indicator Type: Which indicator type this row is for.

Result: Pass or fail — if fail, the load must be held and the recall procedure triggered.

Recorded By: Who actually ran the test.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

| Date | Load Number | Indicator Type | Result | Recorded By |
| --- | --- | --- | --- | --- |
| WORKED EXAMPLE — TRAINING ONLY — NOT AN ACTUAL HOSPITAL RECORD |  |  |  |  |
| 10-Jan-2026 | AUT-2026-0110-03 | Physical/Chemical Indicator | Pass | CSSD Technician |