IPC.7.d — Validation test records

IPC.7 Record 15 — Validation test records

What is this record, in plain terms? This record is where you keep the proof for: “Load log with unique load number, content description, and (where applicable) temperature/pressure/time chart.” — the specific evidence element IPC.7.d (Commitment*) of this policy asks for. Every time this activity actually happens, whoever did it adds one new row below with: Load Number, Date, Contents, Temperature/Pressure/Time, Result. A worked example row is already filled in (shaded) below the header, so you can see exactly what a completed real entry looks like — don't leave that example row mixed in with real data once you start using this record.

A real example of when you'd use this The CSSD technician logs a new entry for every real sterilisation load, daily for physical/chemical indicators and weekly for biological ones. The worked example below shows a real entry: on 10-Jan-2026, load number was “AUT-2026-0110-03”, contents was “General surgery instrument set”, temperature/pressure/time was “134°C / 2.1 bar / 4 minutes” — so result was “Passed — released for use”.

Why does NABH ask for this? A sterilizer can complete its full cycle and still fail to actually sterilise its contents, because of a blocked drain, a wrong load, or a fault that looks completely normal from the outside. Physical, chemical and biological indicator tests are the only way to know a specific load was genuinely sterile, and this record is that proof, load by load — not an assumption that the machine did its job. This is a Commitment-level requirement — NABH expects the hospital to be actively working toward and evidencing it, not just planning to.

How to fill this in — column by column

Load Number: Each load's own unique number — never re-use a number.

Date: Date the load was actually run.

Contents: What was actually in the load.

Temperature/Pressure/Time: The actual cycle parameters achieved, where the sterilisation mode records them.

Result: Passed and released, or failed and held back — state which.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

| Load Number | Date | Contents | Temperature/Pressure/Time | Result |
| --- | --- | --- | --- | --- |
| WORKED EXAMPLE — TRAINING ONLY — NOT AN ACTUAL HOSPITAL RECORD |  |  |  |  |
| AUT-2026-0110-03 | 10-Jan-2026 | General surgery instrument set | 134°C / 2.1 bar / 4 minutes | Passed — released for use |