FMS.1.b — As-built and updated drawings are maintained as per statutory requirements.

FMS.1 Record 2 — As-built drawing set and update log

What is this record, in plain terms? A log of the controlled as-built drawing set (architectural, structural, electrical, plumbing, fire/detection, medical-gas) and every update made to it after a building or major-service change.

A real example of when you'd use this This hospital adds a new MRI suite; this record shows the architectural and electrical single-line drawings were updated to as-built status within the hospital's own defined timeframe after commissioning, not left as the original consultant drawing.

Why does NABH ask for this? NABH requires as-built and updated drawings to be maintained as per statutory requirements -- a Commitment requirement that a brochure floor plan or an un-updated consultant drawing does not satisfy.

How to fill this in — column by column

Date of Change: Date the building or service change occurred.

Drawing Type: Architectural / structural / electrical / plumbing / fire / medical-gas.

Change Described: What changed in the building or service.

Updated to As-Built? (Y/N): Whether the controlled set now reflects the change.

Date Drawing Updated: When the as-built update was completed.

Confirmed By: Named facilities lead holding the controlled set.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

Where this requirement comes from (verified, clickable sources)

• Bureau of Indian Standards. (2016). National Building Code of India, 2016.

| Date of Change | Drawing Type | Change Described | Updated to As-Built? (Y/N) | Date Drawing Updated | Confirmed By |
| --- | --- | --- | --- | --- | --- |
| 15/02/2026 | Electrical single-line | New MRI suite added, dedicated circuit | Y | 28/02/2026 | Facilities Lead «Name» |