FMS.2.b — The organisation has facilities for the differently-abled.

FMS.2 Record 2 — Differently-abled facility usability record

What is this record, in plain terms? A record confirming facilities for the differently-abled (ramps, lift access, accessible toilet, wayfinding) are present and kept usable, not blocked by storage or a trolley bay.

A real example of when you'd use this A monthly check finds the accessible toilet door was being used to store cleaning equipment; this record shows it was found and cleared the same day.

Why does NABH ask for this? NABH requires the organisation to have facilities for the differently-abled -- a Commitment requirement checked against whether the facility is actually usable, not merely present.

How to fill this in — column by column

Date of Check: Date the facility was checked.

Facility: Ramp, lift, accessible toilet, wayfinding signage, etc.

Usable? (Y/N): Whether it is accessible and unobstructed right now.

Obstruction/Defect Found: What was blocking or preventing use, if anything.

Action Taken: What was done to restore usability.

Confirmed By: Named facilities lead.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

Where this requirement comes from (verified, clickable sources)

• Gudlavalleti, V. S. (2018). Challenges in Accessing Health Care for People with Disability in the South Asian Context: A Review. International Journal of Environmental Research and Public Health, 15(11), 2366.

| Date of Check | Facility | Usable? (Y/N) | Obstruction/Defect Found | Action Taken | Confirmed By |
| --- | --- | --- | --- | --- | --- |
| 03/04/2026 | Accessible toilet, ground floor | N | Cleaning equipment stored inside, door partly blocked | Cleared same day; storage relocated | Facilities Lead «Name» |