FMS.2.g — Hazardous materials are identified and used safely within the organisation.

FMS.2 Record 7 — Hazardous-material inventory and safe-use record

What is this record, in plain terms? The facility-wide inventory of hazardous materials this hospital actually holds (housekeeping chemicals, fuels, mercury if present, engineering solvents, bulk stores) with labelling, segregation, PPE and the spill method -- the chapter's second asterisked, documented-evidence record.

A real example of when you'd use this A 20-litre diesel drum in the generator room is listed with its label, storage segregation, required PPE, and the spill-containment method, distinct from HIC.2's blood-spill SOP and MOM.8's cytotoxic-spill SOP.

Why does NABH ask for this? NABH asterisks this OE -- a Core requirement where the organisation must show hazardous materials are identified and used safely at the point of use, not filed as a safety data sheet nobody has attached to the actual container.

How to fill this in — column by column

Material: Named hazardous material (housekeeping chemical, fuel, mercury, solvent, etc.), or recorded absence of a class not held.

Location: Where it is stored/used.

Labelled and Segregated? (Y/N): Whether the actual container is labelled and correctly segregated.

PPE Required: PPE specified for safe use.

Spill Method Reference: This hospital's building-chemical/mercury/fuel spill method (not HIC.2 blood, MOM.8 cytotoxic, or HIC.3 BMW).

Confirmed By: Named facilities lead.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

Where this requirement comes from (verified, clickable sources)

• Bureau of Indian Standards. (2016). National Building Code of India, 2016.

| Material | Location | Labelled and Segregated? (Y/N) | PPE Required | Spill Method Reference | Confirmed By |
| --- | --- | --- | --- | --- | --- |
| Diesel (generator fuel) | Generator room, 20-litre drum, bunded storage | Y | Gloves, eye protection | Facility hazardous-materials spill procedure, s.3 (fuel) | Facilities Lead «Name» |