FMS.3.a — The organisation plans for medical and support service equipment in accordance with its services and strategic plan.

FMS.3 Record 1 — Equipment-planning-to-service-directory alignment record

What is this record, in plain terms? A record showing new or replacement equipment was planned against the AAC.1 service directory and the ROM.3.a strategic plan, not acquired ad hoc.

A real example of when you'd use this A new day-care service is approved; this record shows the required equipment was planned and in place before the service was offered to patients.

Why does NABH ask for this? NABH requires equipment planning in accordance with services and the strategic plan -- a Commitment requirement checked against the match between the two, not a budget line alone.

How to fill this in — column by column

Date: Date the equipment plan was made or reviewed.

Service (per AAC.1): Named service the equipment supports.

Equipment Planned: What equipment was planned, including any FMS.2.f condemned-item replacement.

Signed Off Before Service Offered? (Y/N): Whether equipment was in place before the service went live.

Gap Recorded (If Any): Any gap found and how it was addressed.

Confirmed By: Named biomedical/engineering lead.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

Where this requirement comes from (verified, clickable sources)

• National Accreditation Board for Hospitals and Healthcare Providers. (2022). Standards for Small Healthcare Organisations (3rd ed.). NABH SHCO Accreditation Programme page. Facility Management and Safety chapter, standard FMS.3.

| Date | Service (per AAC.1) | Equipment Planned | Signed Off Before Service Offered? (Y/N) | Gap Recorded (If Any) | Confirmed By |
| --- | --- | --- | --- | --- | --- |
| 05/01/2026 | Day-care procedure unit | Procedure trolley, pulse oximeter, recovery monitor | Y | None | Biomedical Lead «Name» |