FMS.3.b — Medical equipment and support service equipment are inventoried, and proper logs are maintained as required.

FMS.3 Record 2 — Medical and support-service equipment inventory

What is this record, in plain terms? The hospital-wide inventory of every item that can harm a patient if it fails or is missing -- unique identifier, location, owner department, criticality, and ownership status.

A real example of when you'd use this A consigned analyser in the laboratory is listed on the inventory with its consignment status, even though the hospital does not own it outright.

Why does NABH ask for this? NABH requires equipment to be inventoried with proper logs maintained -- a Commitment requirement checked against whether every in-use item is actually on the list, owned, loaned or outsourced alike.

How to fill this in — column by column

Unique Identifier: Asset tag or serial number.

Item/Description: What the equipment is.

Location/Owner Department: Where it is and which department owns it.

Criticality: Hospital-defined criticality rating.

Ownership Status: Owned / loaned / consigned / outsourced.

Confirmed By: Named biomedical/engineering lead.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

Where this requirement comes from (verified, clickable sources)

• National Accreditation Board for Hospitals and Healthcare Providers. (2022). Standards for Small Healthcare Organisations (3rd ed.). NABH SHCO Accreditation Programme page. Facility Management and Safety chapter, standard FMS.3.

| Unique Identifier | Item/Description | Location/Owner Department | Criticality | Ownership Status | Confirmed By |
| --- | --- | --- | --- | --- | --- |
| BME-0231 | Patient monitor | ICU | Critical | Owned | Biomedical Lead «Name» |