FMS.3.d — Medical and support service equipment are periodically inspected and calibrated for their proper functioning.

FMS.3 Record 4 — Inspection and calibration certificate log

What is this record, in plain terms? A log of inspection (safe-to-use checks) and calibration (traceable measurement accuracy) results, with any overdue measuring device withdrawn from service until it passes.

A real example of when you'd use this An infusion pump's annual calibration finds it reading 4% high; the pump is withdrawn from service the same day and only returned after re-calibration passes.

Why does NABH ask for this? NABH requires periodic inspection and calibration for proper functioning -- a Commitment requirement checked against the withdrawal-until-passed rule for a failed or overdue measuring device.

How to fill this in — column by column

Date: Date of inspection or calibration.

Equipment (Unique Identifier): Which inventoried item.

Inspection or Calibration: Which type was performed.

Result: Pass, fail, or reading against traceable standard.

Withdrawn Until Passed? (Y/N): Whether a failed/overdue item was withdrawn from service.

Confirmed By: Named biomedical lead or vendor.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

Where this requirement comes from (verified, clickable sources)

• Ministry of Health & Family Welfare, Government of India. Biomedical Equipment Management and Maintenance Programme (BMMP).

| Date | Equipment (Unique Identifier) | Inspection or Calibration | Result | Withdrawn Until Passed? (Y/N) | Confirmed By |
| --- | --- | --- | --- | --- | --- |
| 18/03/2026 | BME-0098 (Infusion pump) | Calibration | Reading 4% high against traceable standard — fail | Y, withdrawn same day | Biomedical Lead «Name» |