FMS.3.e — Qualified and trained personnel operate and maintain medical and support service equipment.

FMS.3 Record 5 — Operator and maintainer training record

What is this record, in plain terms? A record of which staff are qualified and trained to operate or maintain each class of equipment, so a device is never handled by someone who was never shown how.

A real example of when you'd use this A ward nurse is trained on the new infusion-pump model before it replaces the old one on her ward, with the training dated and signed off.

Why does NABH ask for this? NABH requires qualified and trained personnel to operate and maintain equipment -- a Commitment requirement checked against an actual training record, not an assumption of competence.

How to fill this in — column by column

Staff Name/Role: Who was trained.

Equipment Class: Which class of equipment they are trained on.

Operate or Maintain: Whether this is operator or maintainer training.

Date Trained: Date training was completed.

Trainer: Who provided the training.

Confirmed By: Named biomedical lead or department head.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

Where this requirement comes from (verified, clickable sources)

• National Accreditation Board for Hospitals and Healthcare Providers. (2022). Standards for Small Healthcare Organisations (3rd ed.). NABH SHCO Accreditation Programme page. Facility Management and Safety chapter, standard FMS.3.

| Staff Name/Role | Equipment Class | Operate or Maintain | Date Trained | Trainer | Confirmed By |
| --- | --- | --- | --- | --- | --- |
| Staff Nurse «Name», ICU | Infusion pump (new model) | Operate | 22/03/2026 | Biomedical Technician «Name» | ICU In-Charge «Name» |