FMS.3.f — There is monitoring of medical equipment and medical devices related to adverse events, and compliance hazard notices on recalls.

FMS.3 Record 6 — Adverse event and recall-compliance log

What is this record, in plain terms? A log of device-related adverse events, manufacturer/CDSCO hazard notices and recalls, with the inventory search, quarantine and compliance sign-off for each. The chapter's second asterisked, documented-evidence record.

A real example of when you'd use this A manufacturer recall notice for a specific infusion-set batch is received; the inventory is searched, two affected sets are found in stores, quarantined the same day, and returned to the vendor.

Why does NABH ask for this? NABH asterisks this OE -- an Achievement requirement where the organisation must show hazard notices and recalls actually reached the user and were acted on, not filed in the quality office.

How to fill this in — column by column

Date: Date the adverse event or hazard notice/recall was received.

Source: CDSCO, manufacturer, vendor, or internal report.

Device/Batch Affected: What the notice concerns.

Inventory Searched? (Y/N): Whether the inventory was checked for affected items.

Quarantined/Returned/Destroyed: Action taken on any affected items found.

Compliance Signed By: Named person who signed compliance.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

Where this requirement comes from (verified, clickable sources)

• Central Drugs Standard Control Organisation. Medical Devices and Diagnostics.

• Government of India. (2017). Medical Devices Rules, 2017.pdf), read with the Drugs and Cosmetics Act, 1940.

| Date | Source | Device/Batch Affected | Inventory Searched? (Y/N) | Quarantined/Returned/Destroyed | Compliance Signed By |
| --- | --- | --- | --- | --- | --- |
| 02/04/2026 | Manufacturer recall notice | Infusion-set batch #IS-2291 | Y | 2 units found in stores, quarantined and returned to vendor | Biomedical Lead «Name» |