FMS.3.g — Downtime for critical equipment breakdown is monitored from reporting to inspection and implementation of corrective actions.

FMS.3 Record 7 — Critical-equipment downtime log

What is this record, in plain terms? A log timing critical-equipment breakdown from the moment a user reports it to inspection and corrective action, including any loaner or service diversion used in the meantime.

A real example of when you'd use this An anaesthesia workstation fails at 9am; the downtime clock starts then, a loaner unit is in place by 11am, and the fault is corrected and the original unit restored by 3pm the next day.

Why does NABH ask for this? NABH requires critical-equipment downtime to be monitored from reporting to corrective action -- a Commitment requirement checked against the clock starting at the report, not at the engineer's arrival.

How to fill this in — column by column

Equipment (Unique Identifier): Which critical item broke down.

Date/Time Reported: When the user reported the failure.

Alternative in Place (If Any): Loaner, diversion under AAC.2/AAC.7, or recorded service pause.

Date/Time Restored: When corrective action restored the item or service.

Corrective Action: What was done to fix the fault.

Confirmed By: Named biomedical lead.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

Where this requirement comes from (verified, clickable sources)

• National Accreditation Board for Hospitals and Healthcare Providers. (2022). Standards for Small Healthcare Organisations (3rd ed.). NABH SHCO Accreditation Programme page. Facility Management and Safety chapter, standard FMS.3.

| Equipment (Unique Identifier) | Date/Time Reported | Alternative in Place (If Any) | Date/Time Restored | Corrective Action | Confirmed By |
| --- | --- | --- | --- | --- | --- |
| BME-0077 (Anaesthesia workstation) | 15/04/2026 09:00 | Loaner unit from 11:00 | 16/04/2026 15:00 | Faulty flow sensor replaced | Biomedical Lead «Name» |