FMS.4.c — Alternate sources for medical gases, vacuum and compressed air are provided for, in case of failure, and their functioning is tested at a predefined frequency.

FMS.4 Record 3 — Alternate gas and vacuum source functioning-test record

What is this record, in plain terms? A record of functioning tests -- gas actually flowing, vacuum actually aspirating, alarms actually annunciating -- for every alternate source this hospital uses, not a paper changeover checklist.

A real example of when you'd use this The reserve oxygen manifold bank is tested by switching over and confirming flow at a theatre outlet; the test is logged with the result, not just that the switch was turned.

Why does NABH ask for this? NABH requires alternate gas/vacuum/compressed-air sources to be tested at a predefined frequency -- a Core requirement that a functioning test, not a paper checklist, must satisfy.

How to fill this in — column by column

Date of Test: Date the functioning test was run.

Source Tested: Reserve manifold bank / portable suction / reserve compressed-air source.

Point of Use Tested: Where flow/aspiration/alarm was confirmed.

Result (Pass/Fail): Whether the alternate source actually functioned as required.

Fault/Observation: Any fault found, e.g. delayed changeover, alarm failure.

Confirmed By: Named engineering lead present at the test.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

Where this requirement comes from (verified, clickable sources)

• Department of Health, Estates and Facilities Division. (2006). Medical Gas Pipeline Systems (HTM 02-01).

| Date of Test | Source Tested | Point of Use Tested | Result (Pass/Fail) | Fault/Observation | Confirmed By |
| --- | --- | --- | --- | --- | --- |
| 20/02/2026 | Reserve oxygen manifold bank | Theatre 1 outlet | Pass | None | Engineering Lead «Name» |