FMS.5.a — The organisation has plans and provisions for early detection, abatement and containment of the fire, and non-fire emergencies.

FMS.5 Record 1 — Fire and non-fire detection, abatement and containment provisions record

What is this record, in plain terms? A record of the installed provisions (detectors, extinguishers, fire doors, compartments) against the fire and named non-fire plans, showing provisions actually exist in the building. The chapter's first asterisked, documented-evidence record.

A real example of when you'd use this The ground-floor ward's smoke detectors, two CO2 extinguishers and self-closing fire door are each confirmed present and matching the fire plan for that compartment.

Why does NABH ask for this? NABH asterisks this OE -- a Core requirement where the organisation must show plans and provisions exist in the building, not just in a municipal NOC or a copied NBC paragraph.

How to fill this in — column by column

Date of Check: Date the provision was confirmed.

Area/Compartment: Where the provision is located.

Provision Type: Detection / abatement / containment, and the specific item.

Present and Matches Plan? (Y/N): Whether the provision is installed as the plan requires.

Fire or Named Non-Fire Event: Which hazard this provision addresses.

Confirmed By: Named fire/facilities lead.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

Where this requirement comes from (verified, clickable sources)

• Bureau of Indian Standards. (2016). National Building Code of India, 2016.

| Date of Check | Area/Compartment | Provision Type | Present and Matches Plan? (Y/N) | Fire or Named Non-Fire Event | Confirmed By |
| --- | --- | --- | --- | --- | --- |
| 04/03/2026 | Ground-floor ward A | Detection (smoke detector) + abatement (2x CO2 extinguisher) + containment (self-closing fire door) | Y | Fire | Fire Lead «Name» |