FMS.5.d — There is a maintenance plan for fire-related equipment and infrastructure.

FMS.5 Record 4 — Fire-equipment and infrastructure maintenance job-card log

What is this record, in plain terms? A log of maintenance job cards for detectors, alarms, extinguishers, hose reels, fire doors and emergency lighting -- not a vendor contract with no job card. The chapter's second asterisked, documented-evidence record.

A real example of when you'd use this A monthly visual check of corridor extinguishers finds one gauge in the red; it is replaced the same day and the replacement logged.

Why does NABH ask for this? NABH asterisks this OE -- a Commitment requirement where the organisation must show fire equipment and infrastructure were actually maintained, not covered by an AMC that never produces a job card.

How to fill this in — column by column

Date: Date of the maintenance task.

Equipment/Infrastructure: Detector, alarm, extinguisher, hose reel, fire door, emergency lighting, pump, etc.

Task: Visual check, functional test, service, repair, replacement.

Result: Pass, fail, or finding (e.g. discharged extinguisher, disconnected door closer).

Isolated/Compensating Provision Until Restored? (Y/N): Whether a failed item was isolated or compensated for until fixed.

Confirmed By: Named in-house or AMC attendee.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

Where this requirement comes from (verified, clickable sources)

• Bureau of Indian Standards. (2016). National Building Code of India, 2016 (IS 2190 portable-extinguisher practice).

| Date | Equipment/Infrastructure | Task | Result | Isolated/Compensating Provision Until Restored? (Y/N) | Confirmed By |
| --- | --- | --- | --- | --- | --- |
| 01/03/2026 | CO2 extinguisher, corridor outside ICU | Monthly visual check | Fail — gauge in red | Y, replaced same day with spare unit | Fire Lead «Name» |